# Spoločnosť priateľov Zeme

pošt. adresa: P.O.BOX H-39, 040 01  Košice

kanc. Krivá ul. 5, Košice, tel./fax: 055 / 677 1 677

e-mail: spz(changenet.sk, www.changenet.sk/spz

## PRÍKLADY ALTERNATÍV K  PVC

#### Medicínske aplikácie

Rastúci počet nemocníc nahrádza používanie PVC v rámci zdravotníckej starostlivosti. Jednu z  databáz alternatív k PVC zverejnil nedávno Aarhuský okres na web stránke : www.aaa.dk/pvc .

Príklady niektorých alternatív k PVC :

-     Infúzne sady: Na zavádzanie infúzií je potrebný celý rad medicínskych pomôcok. Patria sem infúzne fľaše / vaky, vrátane zariadenia na zavesenie, hadičky, hadičkové svorky, kohútiky atď. Spravidla sú tieto stanice poskladané z dielov z rôznych materiálov. Úplné vybavenie bez PVC vyrábajú firmy B.Braun, Clinico, Fresenius. Na Slovensku ich ponúka napr. firma B.Braun. Jednotlivé dielce sú zastúpené takto:

-    Infúzne fľaše a vaky: z ekologického hľadiska sú uprednostňované viacnásobne použiteľné fľaše zo skla. V istých prípadoch je ale umelá hmota vhodnejšia - napr. v sanitkách. Pri týchto vakoch je výber náhradných materiálov veľký. PP, PP Copolymér, PE, PE/PA, EVA, PCCE, PSU. Mnohí užívatelia ich uprednostňujú kvôli lepším vlastnostiam ako PVC. Vyrábajú ich firmy B.Braun, Pfrimmer, Pharmacie-Kabi, centrála ČK, dánska firma Hanstrupp. Stojany z kovu vyhovujú všetkým súčasným infúziám, vyrábajú ich Bayer, B.Braun, Fresenius, Hoechst.

-    Hadičky: Žiadané kvalitatívne vlastnosti spĺňajú alternatívy EVA, EVA-kopolymér od firiem B.Braun, Pfrimmer. Vyrábajú sa aj z PE a PCCE vo firme Clinico. Svorky na zastavenie sa tiež vyrábajú z PE na iné použitie: napr. umelé dýchanie sa užívajú hadičky zo silikónu alebo gumy.

-    Kohútiky, adaptéry, spojky : väčšinou sú vyrábané z iných materiálov ako PVC, napr. vo firmách :

kohútiky - Mallinckrodt, pvb

adaptéry - Habel,

spojky - SIMS

-    Kanyly: na výrobu vnútrožilných kanýl sa používa napr. PP a PE od f. B.Braun

-    Tuby: Používajú sa napr. endotracheálne tuby zo silikónu v aplikáciách pre deti. SIMS ich vyrába zo silikónu, VBM Medizintechnik z EVA.

- Žalúdočné sondy: náhradou za PVC sú napr. silikón a PC – od SIMS

- Vyživovacie sondy – napr. polyuretánové od firiem Nutricia, Tamro Medlab AB

- Katétre: výrazne sa presadili materiály silikón a latex. Silikón je hladší a ľahšie sa znáša. Vyrábajú ich B.Braun, Kendall, Rusch, pvb, latexové Beiesdorf.

-     Redonfľaše a záchytné vaky: na zachytávanie telesných tekutín slúžia Redonfľaše zo skla od firmy Odelga, znovupoužiteľné fľaše z PE od B.Braun, Sterimed a Dahlhausen, Benesch.

-    Na vaky na sekréty a urín sa používa PP.

-     Skalpely: v mnohých nemocniciach sa vyskytujú jednorázové skalpely, ktorých úchopky sú z PVC. Alternatívou sú celokovové skalpely s vymeniteľnou čepelou alebo brúsiteľné skalpely od Martin OHG.

- Dýchacie masky – môžu byť vyrobené z gumy – SIMS, z latexu, alebo silikónu.

- Krvné vaky – rozvíjajú sa, vo Švédsku sa používajú napr. na skladovanie krvných doštičiek a zmrazenú krvnú plazmu polyolefínové sáčky.

- Infúzne sady – alternatívy - f. Dispomedicor, B.Braun

- Transfúzne súpravy – alternatívy - firma B.Braun

- Sety pre perkutánnu nefrostrómiu - alternatívy - firma B.Braun

- Surologické katétre - alternatívy - firma B.Braun

- Set pre retrogradnú uretrografiu - alternatívy - firma B.Braun

- Set pre cystometriu - alternatívy - firma B.Braun

- Set pre suprapubickú drenáž - alternatívy - firma B.Braun

- Set pre biopsiu - alternatívy - firma B.Braun

- Vysokovákuové drenážne systémy - alternatívy - firma B.Braun

- Monitorovacia súprava na meranie tlaku (tlakový prevodník) - alternatívy - firma B.Braun

- Predlžovacia tlaková hadička - alternatívy - firma B.Braun

- Obaly farmaceutických produktov, liekov  – do polypropylénových blistrov balí lieky Recip AB Švédsko; Bayer používa na obaly svojich famaceutických produktov tiež PP.

-     Vyšetrovacie rukavice patria k prvým medicínskym výrobkom, ktoré začali byť vo veľkom vyrábané z iných materiálov ako PVC. Podľa tvrdení opýtaných sú rukavice z PVC z 10– 20% poškodené už po doručení a sú ľahko prederaviteľné. Alternatívy  - nitril, na jednoduchšie uchopenie sa odporúčajú rukavice z PE alebo PE – copolymérov (napr. pre sestričky). Latex je hodnotnejší a vyznačuje sa nepriepustnosťou vírusov. Pri jeho aplikácii treba dbať na nepoužitie v prípade alergologického pôsobenia, objavuje sa však len výnimočne. Napríklad na nemeckom a rakúskom trhu sú rukavice z PE vyrábané firmami Braun, Odelga, latexové rukavice B.Braun, Beiesdorf, Mőlnlycke.

-     Striekačky: bežné materiály na striekačky sú PE a PP, niekedy ABS a na vrchnáčiky kaučuk. Sklo sa používa málo kvôli rozlišnosti, ktorá môže byť v časoch AIDS nebezpečná. Plastové alternatívy vyrábajú firmy Braun, pvb peter von berg, sklenené Multimed a Sarstedt. Na Slovensku ich ponúka napr. firma B.Braun.

-     Použitie jednorázových návlekov na topánky z PVC sa v mnohých nemocniciach už redukovalo. Personál nemocníc používa v operačných oddeleniach často dreváky s koženým zvrškom, ktorých sa pri obúvaní netreba dotýkať. Ďalšími alternatívami sú gumené topánky, látkové topánky, alebo na jedno použitie pre hostí na intenz. odd. návleky z PE. Vyrába ich napr. firma Thiereck.

-     Zástery. V odeleniach s malým rizikom kontaminácie sa zvyčajne používajú látkové.  Pri vyššom nebezpečenstve kontaminácie, predovšetkým v operačných sálach je žiadaným materiálom umelá hmota alebo pogumovaný textil. PVC sa tu dá nahradiť PE – firma B.Braun

- Pokrývky na matrace: sú používané pri ležiacich pacientoch pod plachtou, aby matrace pri prípadných únikoch telesných tekutín nenavlhli. Pokrývky na matrace sa vyrábajú napr. z gumy.

-     Plienky –používané plienky, vložky, nohavičky pre deti i dospelých sú už bez PVC, napr. od firmy Rauscher.

-     Náplasti a obväzy – ako alternatíva sa odporúčajú zvlásť textilné – napr. Rauscher.

#### Obaly

- Papierové obaly nebielené chlórom sú vhodné pre niektoré sypké potraviny, pevné výrobky a pod., lepší je recyklovaný papier.

- Sklo -  pokiaľ možno opakovane používaná, zálohovaná fľaša.

- Menej škodlivé druhy plastov - napr. polyetylén PE, polypropylén PP…

- Železné kovy

- Bezobalový predaj - niekedy sú obaly použité zbytočne. Na bezobalový predaj sa používajú pre nápoje a tekutiny veľké priesvitné alebo polopriesvitné plastové sudy (môžu byť z PP, skla), z ktorých sa potom ”čapujú” do nádob prinesených spotrebiteľmi. Najznámejším a najrozšírenejším je čapovanie piva a niektorých nealko nápojov v reštauračných zariadeniach. Na sypké potraviny sa používajú boxy, do ktorých spotrebiteľ vidí. Z nich potom naberá do prinesených nádob žiadaný tovar.

#### Hračky

Alternatívy môžu byť z najrôznejších materiálov, napr. drevo, ľan, papier - kartón (nebielený chlórom, lepšie recyklovaný), plyšové hračky, alebo menej škodlivé druhy plastov (PE, PP…).

### Stavebné a bytové materiály

-   Rúrky a potrubia:

Jedným z najrozsiahlejších použití PVC je v SR aplikácia v potrubiach pre kanalizácie, vedenie elektrických káblov a plynových potrubí. Pre podzemné káblové a vodné potrubia sú vhodné a veľmi trvanlivé keramické hlinené potrubia. Niektorí výrobcovia pre ne ponúkajú 100 ročnú záruku. Hlinené potrubia majú vysokú odolnosť voči chemikáliám v odpadovej vode. V posledných rokoch boli hlinené kanalizačné potrubia vylepšené tak, aby ušetrili viac priestoru, času a celkových nákladov. Ďalšou náhradou sú betónové a kamenivové materiály.

Alternatívne materiály voči PVC v kalových potrubiach môžu pôsobiť lepšie z dlhodobého hľadiska: mesto Nyborg v Dánsku oznámilo, že hlavné kalové potrubie z PVC sa stáva extrémne krehkým a potrebuje časté vymieňanie.

Vysoko hustý polyetylén (HDPE) sa môže použiť pre odpadové rúry. Keďže PVC rúry majú sklon prichádzať v kratších dĺžkach, potrebujú viac spojení a majú priesakovejší potenciál.  HDPE potrubia sú flexibilnejšie a odolné proti nárazu. Používa sa aj polypropylén (PP), ktorý má lepšie vlastnosti pre tepelné rozvody – vyššiu tepelnú odolnosť (90OC - 120OC)  oproti PVC (40OC - 70OC). Ďalšou nevýhodou PVC oproti iným druhom plastu je jej reagovanie s kyselinou chlórovodíkovou.

Pre povrchové rúry, t.j. zemné, vetracie rúry a odkvapy môžu byť použité ako alternatívy materiály ako odlievané železo, meď, pozinkovaná oceľ. Kovové odkvapy majú dlhšiu životnosť, hoci môžu požadovať údržbu. Niektorí majstri dokážu vyrobiť aj pekné drevené žľaby, čo je ešte ekologickejšie riešenie (pokiaľ drevo nie je získané holorubným spôsobom).

PVC rúrky pre elektrické káble je možné nahradiť polyetylénom (PE) a oceľou.  Plynový priemysel Veľkej Británie teraz používa len rúrky zo stredne hustého polyetylénu (MDPE), pretože sú flexibilnejšie.

-   Elektrické káble a vedenia:

Výrobcovia káblov (napr. káble v počítačoch, na vedenie elektrickej energie) už predávajú niekoľko alternatív PVC káblov bez halogénov = neobsahujú PVC alebo iné látky na báze organických chlórových zlúčenín.

Hlavné alternatívne káble pre vysoký alebo stredný rozsah napätia používajú polyetylén ako izolačný a krycí materiál. Prístupné sú tiež gumené vkladacie káble.

Alternatívami pre nižšie napätia ako je domáca inštalácia sú polyetylénom alebo gumou izolované káble bez halogénov. V Nemecku Siemens vyvinul nové typy výkonových káblov bez PVC (Simaclean) pre budovy. Pre káble na prenos dát sú alternatívy k PVC z polypropylénu a polyetylénu.

Inou výhodou káblov vyrobených z alternatívnych plastov ako polyetylén je to, že tieto plasty nepotrebujú použiť plastifikátory ako je DEHP.

Všetky alternatívne káblové typy spomenuté vyššie majú lepšie vlastnosti ako PVC, v prípade ohňa generujú menej dymu, neuvoľňujú kyselinu chlórovodíkovú alebo dioxíny a majú ohňu odolné kvality, ktoré sú porovnateľné alebo lepšie ako PVC. Hoci množstvo výrobcov káblov predáva škálu káblov bez halogénov, stále tvoria malý obchodný podiel u predajcov, takže môžete poprosiť predajcov o ich rozšírenie a vyhýbanie sa PVC.

Podlahy:

-   Drevené podlahy

Drevo je prírodnou alternatívou podlahy z PVC. Je veľmi trvanlivé a môže byť renovované hobľovaním alebo brúsením. Ak sa použije nové drevo, je dôležité vyberať ho z lesov, v ktorých nebol získaný holorubne a nespôsobili sa ani iné škody na životnom prostredí.

-   Linoleum

Je vyrobené z obnoviteľných materiálov a skladá sa hlavne z rastlinného ľanového oleja ku ktorému je pridaná prírodná živica. Zmes je rozložená na jutovej tkanine a povrch je spracovaný akrylovou disperznou farbou na báze vody. Linoleum má veľmi nízku horľavosť, je antistatické, odolné voči svetlu, absorbujúce zvuk, odolné voči tukom a olejom a má prirodzený antibakteriálny efekt.

-   Gumené podlahové krytiny

Na miestach ako letiská, športové štadióny, kde sa podlahové krytiny stretávajú s požiadavkami na trvanlivosť, sa osvedčili gumené podlahové krytiny. Gumené podlahy, ktoré obsahujú zložky na báze chlóru majú byť zrušené tak ako PVC. Dánskou správou ochrany životného prostredia je odporúčaný typ Ethylene propylene diene (EPDM) ako alternatíva k PVC.

-   Korková podlaha

Korok je ťažko opotrebiteľný, vysoko absorbujúci zvuk a populárny, pretože je príjemný na chodenie. Na výrobu korku je použitá kôra stiahnutá z korkového duba. Korkové podlahové krytiny sú k dispozícii s neopracovaným alebo utesneným povrchom. Typy ktoré sú utesnené s umelými živicami (polyuretán) alebo PVC by mali byť odstránené a nemôžu byť považované za alternatívu.

-   Okná:

Alternatívou pre PVC okná sú drevené okenné rámy, novinkou sú okené rámy z PP (úspešne aplikované napr. vo Viedni).  S drevenými okennými rámami sa jednoducho zaobchádza, dobre absorbujú zvuk a udržujú teplo v dome. Na ich výrobu sa na rozdiel od PVC nespotrebuje také obrovské množstvo energie. Je dôležité vybrať si drevo z overených lesov, kde nie je prevádzaný holorub ani iné životné prostredie poškodzujúce techniky. Môže sa použiť upravené drevo alebo miestne stavebné drevá ako je smrek, borovica a červený smrek z overených lesov.

Výhodou drevených okenných rámov je ich trvanlivosť, za predpokladu ich správnej údržby. Drevené okná sú schopné vydržať cez 50 rokov a ešte aj po tomto čase môžu byť renovované, zatiaľ čo PVC okná musia byť úplne vymenené po oveľa kratšej dobe. Existuje množstvo spoločností, ktoré reštaurujú staré drevené okná ako aj spoločnosti ponúkajúce nové drevené okná. Drevené okná je možné kombinovať s energicky efektívnou dvojitou alebo trojitou glazúrou pre úsporu energie.

Hoci údržba kvôli vysokým charakteristickým vlastnostiam je minimálna, niekto môže vziať do úvahy ich nevhodnosť pre malé percentá budov. V takých prípadoch by mala byť zvážená kombinácia PP, drevených (v v obmedzenej miere i hliníkových) okien.

-   Profily

PVC sa používa pre rozmanité účelov ako sú fasádne dosky, okenné parapety atď. V závislosti od špecifického použitia môžu byť alternatívami drevo, oceľ, iné menej škodlivé plasty ako je polyetylén (PE) a polypropylén (PP). Alternatívne materiály sú technicky aj finančne porovnateľné s PVC.

-   Plátovanie - plášte

PVC plátovanie je často používané stavebným priemyslom ako lacná náhrada dreva na exteriéri budov kvôli ochrane spodnej vrstvy alebo kvôli dekoratívnemu efektu. Avšak jeho zovňajšok sa po čase zmení. PVC má sklony k žltnutiu, blednutiu a "kriedovaniu - prášeniu", čo je výsledkom komplexu chemických zmien spôsobených vystavením teplu, UV žiareniu a vlhkosti. PVC plátovanie sa môže stať po čase krehkejším.

Alternatívy pre PVC plátovanie obsahujú drevo, alebo rôzne zložené obklady stien s obsahom recyklovaného vlákna. Tieto môžu požadovať zvýšenú starostlivosť. Tiež môžu byť použité oceľové, betónové a kamenné panely.

-   Stavebné membrány

Alternatívy sú napr. plátno a silikónom potiahnuté výrobky. Alternatívy k PVC strešným membránam sú zhotovené z etylén propylén dién monomer gumy (EPDM). Vyhnutím sa použitiu PVC v týchto aplikáciách sa tak isto pracovníci vyhnú výparom uvoľňovaným pri "zváraní" strešných membrán z PVC. Existuje široké rozpätie materiálov vhodných pre nahradenie PVC geomembrán používaných v krajinárstve a stavbárstve, napríklad na obloženie rybníkov a nádrží; tieto sú väčšinou vyrobené z gumy.

##### ... iné materiály

Napríklad k plecniakovým PVC taškám prírodné, miestne látky - ľan, vlna, bavlna a pod. trvácne tašky; prípadne tašky z čistejších druhov plastov.

Alternatívy k medicínskym pomôckam:

| Id | Product |  | Plastic type | Packaging | Supplier No. | CE |
| --- | --- | --- | --- | --- | --- | --- |
| 1756 | 3-way taps | Codan | PP-PC-PE | PP | 149 | 0088 |
| 1691 | Abortion sieve | Serres | PP | Carton | 21 | 0537 |
| 700 | Abortion suction curettes | Berkely | Polypropionate | Paper | 545 |  |
| 701 | Absorber chamber | 11054-03 | PSU |  | 167 |  |
| 702 | Adaptor for peritoneal dialysis catheter | Baxter | Titan | LDPE, cardboard | 55 |  |
| 703 | Adaptors | Hudson | PP | PE | 99 |  |
| 1782 | Aminicot (Aminiotomy) |  | Latex |  | 720 |  |
| 1080 | Anaesthetic valve | Schneider | PC |  | 677 |  |
| 716 | Anal stopper | Conveen | Pur, Pval | Polyester | 153 | 0088 |
| 1348 | Angle piece, raw material | 52016-R etc. | PP |  | 167 |  |
| 717 | Applicator | I:V:Applica | PUR | Paper | 63 | 0124 |
| 846 | Apron | HDK | PE | PE, cardboard | 320 |  |
| 845 | Apron |  | PE |  | 185 |  |
| 847 | Apron, disposable |  | PE | PE, carton | 727 |  |
| 850 | Atomiser | Hudson | PP | PE | 99 |  |
| 851 | Atomiser | Pari | PE | PE, paper | 613 | 0123 |
| 1148 | Bag clamp | Baxter | Acetyl homopolymer | LDPE, cardboard | 55 |  |
| 1749 | Bandage for wound | Biatain | MDPE; PETP | Pet-G/PE/PA /PE, cardboard | 153 | 0088 |
| 1767 | Bandage for wound | Epi view | Polyurethane film | PE-Polyester | 157 | 0086 |
| 1750 | Bandage for wound | Biatain | MDPE, PETP | PA/PE/cardboard | 153 | 0088 |
| 1766 | Bandage for wound | Carbo Flex | Alginate/hydrofibre | Pe-Polyester | 157 | 0086 |
| 1765 | Bandage for wound | Aquacel | Hydrofibre/cmc | PE-Polyester | 157 | 0086 |
| 1261 | Bandages | Duoderm | CMC | PE, polyester | 157 | 0086 |
| 1260 | Bandages | Comfeel Seasorb | Alginate | PE | 153 | 0088 |
| 718 | Bandages | SCS | PE | Cardboard | 568 |  |
| 1259 | Bandages (hydrocolloid) | Comfeel Plus | MDPE, PETP | PA/PE | 153 | 0088 |
| 749 | Base for absorber chamber | 11056-02 | SAN |  | 167 |  |
| 1685 | Bath cover | Diacol | PP | PP | 215 |  |
| 1182 | Bed cover | Extrufix | PE | Carton | 1345 |  |
| 1183 | Bed cover | HDK | PE | PE | 320 |  |
| 1023 | Bed cushions, OP | Devon Industries | PUR (foam) | N-A | 1294 |  |
| 1180 | Bed pan |  | PP |  | 185 |  |
| 1022 | Be d protection, gynaecological | OAM | PE |  | 343 |  |
| 1181 | Bed sheets | HDK | PE | PE | 320 |  |
| 1184 | Bed underlay | HDK | PE | PE | 320 |  |
| 751 | Bedpan |  | PP |  | 185 |  |
| 752 | Bedpan |  | PP |  | 425 |  |
| 727 | Beta protection equipment | Nalgene | Acrylic |  | 716 |  |
| 988 | Binding screw |  | PA |  | 185 |  |
| 733 | Biopsy pad | Prohosp | PUR | PE | 607 |  |
| 732 | Biopsy set | Hepafix | PP | PETG/Tyvek | 115 |  |
| 731 | Biopsy set | Sonocan | PP | PETG/Tyvek | 115 |  |
| 1770 | Biopsy/hypodermic needles |  | PE | PE-Paper | 613 | 0120 |
| 730 | Bite plate | Vertex | Methylmetacrylate |  | 1235 | 0044 |
| 748 | Bladder rinse bottles | PLM Langeskov | PP |  | 1296 |  |
| 1698 | Blood glucose measuring machine | Accutrend Dm | PE, | Carton | 1351 |  |
| 1697 | Blood glucose measuring machine | Accutrend Alpha | Pp, abs, pc | Carton | 1351 |  |
| 1696 | Blood glucose measuring machine | Accutrend GC | PE, Noryl | Carton | 1351 |  |
| 1695 | Blood glucose measuring machine | Accutrend sensor | Cycla/Abs | Carton | 1351 |  |
| 1699 | Blood glucose measuring machine | Reflolux S | Pe | Carton | 1351 |  |
| 745 | Blood glucose meter | Mendisense Pen | Starex ABS, PC | Carton | 508 |  |
| 746 | Blood glucose meter | Precision QID | Starex ABS, PC | Carton | 508 |  |
| 744 | Blood glucose meter | Medisense Card | Starex ABS, PC | Carton | 508 |  |
| 1352 | Boxes |  | PS |  | 716 |  |
| 750 | Butterfly | Vacutainer | PP | Cardboard | 62 |  |
| 921 | Cabinet | Gynecomfort | ABS | Cardboard | 510 |  |
| 1692 | Canister 1l | Serres | PC, TPU, silicone | Carton | 21 | 0537 |
| 1693 | Canister 2.3l | Serrers | PC, TPU, silicone | Carton | 21 | 0537 |
| 1694 | Canister 3l | Serres | PC, TPU, silicone | Carton | 21 | 0537 |
| 897 | Cap for locking pin, red | 30122-04 | PA |  | 167 |  |
| 898 | Cap over protective jacket | Zinacef and Fortum Monovial | LDPE |  | 302 |  |
| 1794 | Capillary blood extraction tube | Sarstedt | PP, PE | PE, cardboard | 353 |  |
| 1752 | Care for wound | Deo Gel | typer.htm | PE/cardboard | 153 | 0088 |
| 1751 | Care for wound | Purilon Gel | typer.htm | PE/cardboard | 153 | 0088 |
| 1728 | Cassettes | Amoniac | PP, PTFE | Viton | 1159 |  |
| 947 | Cassettes, FDG | GEMS pet | PE, PP, PPU, EFTE, E | Polyester, PA, PE | 1159 |  |
| 948 | Catheter all sizes | Bard/USCi | PUR | Chevron pouch, Tyvek | 382 |  |
| 949 | Catheter all sizes | Jejuno | PUR | PE, paper, carton | 564 |  |
| 974 | Catheter clamp |  | PP |  | 185 |  |
| 973 | Catheter fixing, Immobiliser | Baxter | PUR | LDPE, cardboard | 55 |  |
| 951 | Catheter for treating children | Pharma-Plast | Styrene |  | 590 |  |
| 952 | Catheter for tube feeding | Pharma-Plast | PUR |  | 590 |  |
| 975 | Catheter stopper |  | PP |  | 185 |  |
| 977 | Catheter tip | Terumo U 100 | PS |  | 185 |  |
| 976 | Catheter tip | Terumo | PP |  | 185 |  |
| 955 | Catheter, angiograph | Angiolene/flex, maxi select | PE | Sterile packaging, pa | 0 |  |
| 957 | Catheter, balloon, Pia | Vas Cath | Nydex | Sterile packaging, pa | 0 |  |
| 956 | Catheter, balloon, Pia | Navigator, Angiomed | PE | Sterile packaging, pa | 0 |  |
| 958 | Catheter, diagnostic |  | PUR, Pellethane | Free of PVC | 160 |  |
| 959 | Catheter, dialysis | Quinton | PUR | PP, PE | 943 | 0086 |
| 960 | Catheter, endopyelotomy | Acucise, (Applies Urologi) | PUR | Sterile packaging, pa | 0 |  |
| 962 | Catheter, inner, (Olbert balloon catheter, LP) | P 120 SA | PP | HIPS, Tyvek, polyester | 687 |  |
| 961 | Catheter, inner, (Olbert balloon catheter, NP) | P 120 SA | PP | HIPS, Tyvek, polyester | 687 |  |
| 953 | Catheter, IV | Becton Dickinson | PUR | PE | 690 |  |
| 963 | Catheter, nephrostomy | Ops set, (Angiomed) | PUR | Sterile packaging, pa | 0 |  |
| 972 | Catheter, outer, (Olbert balloon catheter, LP) | FEP 100 | PTFE | HIPS, Tyvek, polyester | 687 |  |
| 971 | Catheter, outer, (Olbert balloon catheter, NP) | FEP 100 | PTFE | HIPS, Tyvek, polyester | 687 |  |
| 954 | Catheter, PTCA |  | PA | Free of PVC | 160 |  |
| 964 | Catheter, tracheal | Bivona | Silicone |  | 690 |  |
| 965 | Catheter, tromso lights | Jet Lysis, (Angiomed) | PE | Sterile packaging, pa | 0 |  |
| 966 | Catheter, ureter | Selectip, (Angiomed) | PA | Sterile packaging, pa | 0 |  |
| 967 | Catheter, ureter | Urecath | PUR | PA, PE | 0 |  |
| 969 | Catheter, vein, central | Cavafix | PUR | PA, PE | 0 |  |
| 970 | Catheter, vein, central | Certofix | PUR | PA, PE | 0 |  |
| 968 | Catheter, vein, central | Becton Dickinson | PUR |  | 690 |  |
| 754 | Cell cultivation bottle | Falcon | PS | PE | 62 |  |
| 757 | Cell cultivation bowl | Falcon | PS | PE | 62 |  |
| 759 | Centrifuge tube | Magenta | PS, PE | Cardboard | 484 |  |
| 758 | Centrifuge tube | Elkay | PS, PP |  | 716 |  |
| 760 | Centrifuge tubes and bottles | Nalgene | PE, PP, PPCO, PC, PT, FE |  | 716 |  |
| 922 | Chamber scale | 51025-02U etc. | PC | Paper | 167 |  |
| 1721 | Circular system | Intersurgical | PE | PE, carton | 420 | 0120 |
| 987 | Clamps, vascular | Baxter | PE | PE, Tyvek, cardboard | 55 |  |
| 989 | Clips, vascular | Baxter | PE | PE, Tyvek, cardboard | 55 |  |
| 1708 | Coagulation device | CoaguChek | Abs, Pc, Ps | Carton | 1351 |  |
| 860 | Collar 20190-20192 | Bissell | PE (foam) | PE | 134 |  |
| 861 | Collar 20193 | Bissell | PE (foam) | PE | 134 |  |
| 862 | Collar C 56, 20561, 20562 | Bissell | PE | PE | 134 |  |
| 863 | Collar Nelson, 20610-20612 | Bissell | PE | PE | 134 |  |
| 864 | Collar Philadelphia, 20620-22 | Bissell | PE | PE | 134 |  |
| 1101 | Collection bag | 3M fluid collection bag | PE | PE, cardboard | 1 | 0086 |
| 1769 | Combi Derm |  | CMC/pectin/gelatine/absorbent | Pe-Polyester | 157 | 0086 |
| 761 | Combi mattress | JM | Polythene | PE | 1176 | None |
| 1812 | Compress, OP, with X-ray thread, various sizes | Vald Larsen | X-ray thread free of PVC | Paper/cardboard | 1208 | 22754017 |
| 1768 | Compression bandage | Sure Press | Cotton/nylon | Carton | 157 | 0086 |
| 995 | Compressor | Kolmi-Set | PE | PE | 438 |  |
| 1007 | Cone, suction |  | PA |  | 185 |  |
| 996 | Conical nipple | 13646 | PA |  | 167 |  |
| 838 | Connecting pipe | Kartell | PA, PP |  | 716 |  |
| 1061 | Connecting pipe |  | PP |  | 185 |  |
| 999 | Connecting T and Y bits | Intersurgical | ABS, PP | PE, carton | 420 | 0120 |
| 997 | Connector | Dideco Konnektorer | PC | PE, PP, paper | 701 |  |
| 837 | Connector | Jostra Medizintechnik | PC |  | 691 |  |
| 1000 | Connector, ordinary | Flocare | ABS | LDPE, paper, carton | 564 |  |
| 1100 | Container | Baxter Medivac | PE | Paper | 545 |  |
| 721 | Container, disposable | Bibby | PS | PE, cardboard | 1323 |  |
| 720 | Container, disposable | Bibby | PP | PE, cardboard | 1323 |  |
| 722 | Container, sterile steriflo | Flocare | PP, EVOH | LDPE, carton | 564 |  |
| 1024 | Corn plaster 40 % Hansaplast | Comina | PE | Paper/cardboard | 63 | None |
| 1025 | Corn plaster 60 % Hansaplast | Comina | PE | Paper/cardboard | 63 | None |
| 1026 | Corn plaster strips Hansaplast | Comina | PE | Paper/cardboard | 63 | None |
| 1008 | Corsets, BOB | Bissell | PE | PE | 134 |  |
| 1009 | Corsets, BOSTON | Bissell | PE | PE | 134 |  |
| 992 | Coupling cap for UV flash | Baxter | PP | LDPE, cardboard | 55 |  |
| 729 | Cover | Inter Care | PUR | PE | 381 |  |
| 709 | Cover | Mölnlycke | PE |  | 185 |  |
| 708 | Cover | Kolmi-Set | PE | PE | 438 |  |
| 707 | Cover | Klinidrape | PE, | PE | 534 | 0086/0537 |
| 728 | Cover | Decu-Tex | PUR |  | 113 |  |
| 1102 | Cover | Devon Industries | PE, | N-A | 1294 | 0086 |
| 706 | Cover | 3M covering pieces | PE, | PE, cardboard | 1 | 0086 |
| 1103 | Cover for sliding mattress | Slide-cover | PE | PE | 320 |  |
| 710 | Cover, operations | 3M Angiografi | PE | PE, cardboard | 1 | 0086 |
| 711 | Cover, operations | 3M Artroskopi | PE | PE, cardboard | 1 | 0086 |
| 712 | Cover, operations | 3M Gyno | PE | PE, cardboard | 1 | 0086 |
| 715 | Cover, operations | 3M Rectal | PE | PE, cardboard | 568 |  |
| 714 | Cover, operations | Baxter | PE, polyester, celluloid | LDPE, polyester, cardboard | 55 |  |
| 713 | Cover, operations | 3M Surgical covers | PE | PE, cardboard | 1 | 0086 |
| 762 | Cryo box | Nalgene | PC |  | 716 |  |
| 763 | Cryo tube | Nalgene | PP |  | 716 |  |
| 764 | Cryo tube holders | Nalgene | PC |  | 716 |  |
| 1778 | Cushions with cubicles |  | Pur |  | 720 |  |
| 766 | Custom pack CP8639 | D701 Masterflo | PC | PP, PS | 701 |  |
| 767 | Custom pack CP8640 | D702 Masterflo | PC | PP, PS | 701 |  |
| 1211 | Cutlery | Disposable | PE |  | 185 |  |
| 1013 | Cuvette rack | Behnk Elekt. | PP, PS |  | 1356 |  |
| 1011 | Cuvettes | Elkay/Kartell | PS |  | 716 |  |
| 1012 | Cuvettes | Hemocue | PS | Carton | 334 |  |
| 775 | Delta cast | Johnson & Johnson | PUR | PE, aluminium | 608 |  |
| 776 | Delta-lite synthetic plaster | Johnson & Johnson | PUR | PE, aluminium | 608 |  |
| 777 | Deltran pressure set | Utah Medical | PC, PE | Tyrek, Mylar | 29 |  |
| 796 | Desiccators | Bel-Art/Nalgene | PP, PC, Acrylic, PS |  | 716 |  |
| 1810 | Dialysis | Capd-Stay Safe | Bio Fine | Cardboard | 1357 |  |
| 779 | Dialysis filter | Amicon | PC | PE, paper | 701 |  |
| 780 | Dialysis filters | Gambro | PC | PE, paper | 295 | 0086 |
| 781 | Dialysis filters | Gambro | ABS, PE | PE, paper | 295 | 0086 |
| 782 | Diathermy | 3M Diaterma neutral plates | PE | Cardboard, paper | 1 | 0086 |
| 783 | Diathermy bag | Kolmi-Set | PA, PC | PE | 438 |  |
| 1311 | Discharger pressure cap | 31110-02 | PA |  | 167 |  |
| 778 | Disinfection | 3M Duraprep | PE, PUR | Free of PVC | 1 |  |
| 1802 | Dispatch tube/containers | Sarstedt | PE | PE, cardboard | 353 |  |
| 807 | Disposable instruments |  | PC, PE, PP, | HDPE, PETG | 396 |  |
| 1724 | Disposable operation covers | Steridrape SD9000 | PP | Cardboard | 1 | 0086 |
| 1010 | Dome, transparent | 11051-72 | PSU |  | 167 |  |
| 768 | DPC CAC plastic box | Variable | Cardboard box |  | 424 | None |
| 769 | DPC CAC test tube | Variable | PP |  | 424 | None |
| 771 | DPC Immulite foam insert | Variable | Polythene of varying density |  | 424 | None |
| 770 | DPC Immulite test units | Elkay | Styrene-butadiene copolymer |  | 424 | None |
| 772 | DPC Immunite sample cup holders | Omni Plastics | PC |  | 424 |  |
| 773 | DPC Immunite sample cups | Elkay | PS |  | 424 | None |
| 774 | DPC Immunlite Reagent Wedge | Variable | PS (lexan) |  | 424 | None |
| 792 | Drain | Exudrain | PUR | PE | 892 |  |
| 791 | Drainage bag | Coloplast | PE |  | 153 | 0088 |
| 1228 | Drawsheet | Extrufix | PE | Carton | 1345 |  |
| 1229 | Drawsheet | Medett | PE | PE, cardboard | 320 |  |
| 1230 | Drawsheet | Otto Broe | PE | PE, cardboard | 690 |  |
| 1231 | Drawsheet, disposable |  | PE |  | 185 |  |
| 842 | Dressing | Allevyn | PUR |  | 185 |  |
| 843 | Dressing | Op-site | PUR, PE |  | 185 |  |
| 841 | Dressing | 3M Tegasorb | PUR | PE, cardboard | 1 | 0086 |
| 840 | Dressing | 3M Tegapore | PA | PE, cardboard | 1 | 0086 |
| 839 | Dressing | 3M Tegaderm | PUR | PE, cardboard | 1 | 0086 |
| 844 | Dressing, non-fastening | Aso | PE | Cardboard | 690 |  |
| 790 | Drip towel | Molimed | PE | PE, cardboard | 690 |  |
| 793 | Drop collector for men | Conveen | PE | PE | 153 |  |
| 705 | Drying stand | Nalgene | PP |  | 716 |  |
| 704 | Drying stand | Kartell | PS |  | 716 |  |
| 794 | Durable marker | Devon Industries | PP, PS | Cellophane | 1294 | 0086 |
| 795 | Duvet and pillow cover | Clini-cover | PUR |  | 185 |  |
| 809 | Dye box/vessel | Nalgene/Kartell | TPX, PCTG |  | 716 |  |
| 810 | Dye vessel | Combitec | PP |  | 607 |  |
| 1355 | Ear cups | Silenta | ABS | Cardboard/PE | 369 |  |
| 1354 | Ear cups | Bilsom | ABS | Cardboard/PE | 369 |  |
| 1357 | Ear funnel | Heine | SP | Paper | 545 |  |
| 1358 | Ear funnel, disposable | Welch Allyn | PP | PE | 690 |  |
| 1359 | Ear funnel, reusable | Welch Allyn | PP | Cardboard | 690 |  |
| 1356 | Ear plugs | Bilsom foam plastic plugs | PUR |  | 34 | 95 |
| 797 | Electric suction | Laerdal | PC, POM, PE, PP, PTF |  | 449 | 0470 |
| 1814 | Electrical cables | Abb Safety Kabler +ko All types | Free of PVC | - | 800 |  |
| 798 | Electrode, ECG | Blue sensor | PE | Aluminium, cardboard | 506 |  |
| 1809 | Electrodes ECG | MSB | PE |  | 29 |  |
| 799 | Electrodes, neurology | Neuroline | PE | PE, aluminium, cardboard, | 506 |  |
| 802 | Electrodes, scalpel | Hook H 1000 A, Cetro | PS | PP, PS | 29 |  |
| 801 | Electrodes, scalpel | 15133C double, Cetro | PE | PP, PS | 29 |  |
| 800 | Electrodes, scalpel | 0988 single, Cetro | PE | PP, PS | 29 |  |
| 803 | Embolism support tights |  | PA, PUR |  | 185 |  |
| 1199 | End cap | 30183 etc. | PP |  | 167 |  |
| 1200 | End cap, 10mm | 30147/30148 | PE |  | 167 |  |
| 1201 | End cap, nylon | 30172/30173 | PA |  | 167 |  |
| 804 | End connecter, (Olbert balloon catheter, np) | Terluran KR 280363 | ABS | HIPS, Tyvek, polyester | 111 |  |
| 805 | End connector, (Olbert balloon catheter, lp) | Cycolac GPM 10-220099 | ABS | HIPS, Tyvek, polyester | 111 |  |
| 806 | End connector, (Olbert balloon catheter, np) | Cycolac GPM 10-220099 | ABS | HIPS, Tyvek, polyester | 111 | 0086 |
| 1771 | Examination gloves | Elastyren | SBS/SIS | PE/PET/Cardboard | 320 |  |
| 808 | Expectorate set | Magenta | PS, PE | Cardboard | 484 |  |
| 1753 | Extension hose | Codan | PE | PP | 149 | 0123 |
| 849 | Extension hose for spray pumps | G40615/G30303 | PE |  | 427 |  |
| 1353 | Eye plaster | 3M Opticlude | Rayon, | PE, cardboard | 1 | 0086 |
| 1337 | Face cloth, disposable | KBE | PUR | PE | 320 |  |
| 1336 | Face cloth, disposable |  | Polythene | PE | 727 |  |
| 855 | Faeces boxes |  | PS | Cardboard | 1237 |  |
| 856 | Faeces boxes | Uson Plast | Polystyrol |  | 737 |  |
| 786 | Feed box | Wiegand | PS |  | 185 |  |
| 784 | Feed box | Dosett | ABS, SAN, PBT |  | 185 |  |
| 785 | Feed box | Medimax | SAN |  | 185 |  |
| 1253 | Feeding bottles | Matech | PC |  | 490 |  |
| 1307 | Feeding cup, prosthesis cups |  | PP | PE, carton | 727 |  |
| 1005 | Female cone, nylon 8 mm straight B | 13644 | PA |  | 167 |  |
| 814 | Film cushion | Allevyn cavity | PUR |  | 185 |  |
| 815 | Filter | 11056-04 etc. | Polythene (foam) |  | 167 |  |
| 823 | Filter pack | Utah Medical | PE | PE | 29 |  |
| 816 | Filter, arterial | Baxter | PC, polyester | PE, Tyvek, cardboard | 55 |  |
| 818 | Filter, disposable | Milliex | PP |  | 524 |  |
| 819 | Filter, disposable | Milliex | Eastar |  | 524 |  |
| 820 | Filter, disposable | Sterivex | Eastar |  | 524 |  |
| 817 | Filter, disposable | Milliex | PE |  | 524 |  |
| 821 | Filter, epidural | Braun Sterifix | PC, PP |  | 185 |  |
| 822 | Filter, epidural | Sterifix | PC, PP | PA, PE | 115 |  |
| 1723 | Filters | Intersugical | PP, ABS | PE, carton | 420 | 0120 |
| 1701 | Finger pricker | Softclix pro | Abs | Carton | 256 | 0297 |
| 1700 | Finger pricker | Softclix II | Abs | Carton | 256 | 0297 |
| 824 | Finger splints | H. Mortensen | Polyester | PE | 529 | gr1 |
| 825 | Fingertip |  | PP |  | 185 |  |
| 826 | Fitting, (BroomT Cho.graphy cat.) | Hostalen PPT 1070 | PP | Tyvek, polyester, PE | 687 |  |
| 830 | Fitting, (carotid set) | Hostalen PPT 1070 | PP | Cardboard, Tyvek, polyester | 687 |  |
| 831 | Fitting, (conn. medium pressure) | Hostalen PPT 1070 | PP | Cardboard, Tyvek, polyester | 687 |  |
| 827 | Fitting, (Connector low pressure) | Hostalen PPT 1070 | PP | Cardboard, Tyvek, polyester | 687 |  |
| 829 | Fitting, (Olbert balloon catheter, LP) | Hostalen PPT 1070 | PP | HIPS, Tyvek, polyester | 687 |  |
| 828 | Fitting, (Sheath Lunderquist needle) | Hostalen PPT 1070 | PP | Tyvek, polyester, PE | 687 |  |
| 812 | Fixing plaster | Leukofix | PUR | PUR | 63 | 0124 |
| 813 | Fixing plaster | Leukoflex | PE | PUR | 63 | 0124 |
| 811 | Fixing sling | Petra-haft | PA | Paper, cardboard | 690 |  |
| 993 | Flask, Erlenmeyer | Kartell/Nalgene | PP, PC, PTFE |  | 716 |  |
| 832 | Flex hose 10-15-22 mm | Intersurgical | PE | PE, carton | 420 | 0120 |
| 1257 | Float chamber | 32001-25 | PP |  | 167 |  |
| 833 | Flow marker 25 l | 13676-01 | PC |  | 167 |  |
| 835 | Flow marker, bottom part | 13677-01 | PC |  | 167 |  |
| 834 | Flow marker, top part | 13677-01 | PC |  | 167 |  |
| 1759 | Foil for horizontal winder |  | PET |  | 205 | None |
| 788 | Foot drop rail 71295 | Bissell | PP | PE | 134 |  |
| 789 | Foot drop stimulator | Klemar Development Center | ABS | PE, EPS | 431 | 0543 |
| 836 | Foot guard | Devon Industries | PUR (foam) | N-A | 1294 |  |
| 852 | Fracture bandage, humerus 62102 | Bissell | PE | Carton | 134 |  |
| 853 | Fracture bandage, tibia 71290 | Bissell | PE | Carton | 134 |  |
| 854 | Fracture pelvis |  | PP |  | 185 |  |
| 1295 | Funnel | Nalgene/Kartell | PP |  | 716 |  |
| 857 | G tube | Flocare | PUR, silicone | Paper, nylon, EVA, k | 564 |  |
| 1777 | Gel cushions |  | Pur |  | 720 |  |
| 866 | Gloves | Best | Nitrile |  | 728 |  |
| 1807 | Gloves | N-Dex | Nitrile |  | 716 |  |
| 867 | Gloves | H. Dam Kjćrgaard | PE |  | 690 |  |
| 868 | Gloves | Solvex Plus | Nitrile |  | 34 | 0493 |
| 1806 | Gloves | TouchNtuff | Nitrile |  | 716 |  |
| 1808 | Gloves, chemical protection |  | Latex, nitrile, butyl, yh |  | 716 |  |
| 869 | Gloves, disposable |  | PE | PE, carton | 727 |  |
| 1805 | Gloves, disposable |  | Latex |  | 716 |  |
| 1711 | Gloves, examination, non-sterile | Touch n tuff | nbr (nitrile) | Cardboard | 315 |  |
| 872 | Gloves, examination, non-sterile |  | PE |  | 425 |  |
| 1712 | Gloves, examination, non-sterile | Conform | NR | Cardboard | 315 |  |
| 870 | Gloves, plastic |  | PE |  | 185 |  |
| 1714 | Gloves, sterile OP glove | Nitrilite, sterile | NRB (nitrile) | Paper/pe | 315 |  |
| 1713 | Gloves, sterile OP glove | Gammex | NR | Paper | 315 |  |
| 871 | Gloves, tactylon OP | Kolmi-Set | Compound polymer 456 |  | 438 |  |
| 1707 | Glucose control liquid solution | Accutrend glukose kontrol | PE | Carton | 1351 |  |
| 1275 | Gum shield |  | PS |  | 720 |  |
| 896 | Haemorrhoid ligature | Kilroid | PETG, PP | PE | 892 |  |
| 865 | Handispec | Wing-plast | PS (transparent glass) | Paper | 545 |  |
| 890 | Head cap, operations |  | PP |  | 185 |  |
| 889 | Head rest | Devon Industries | PUR | N-A | 1294 |  |
| 895 | Heels and soles, Sorbothane | Bissell | PUR | PS | 134 |  |
| 883 | Hemogard stopper | Vacutainer | PE | Cardboard | 62 |  |
| 885 | Holder | Vacutainer | PP | PE | 62 |  |
| 887 | Holder for cup |  | PS |  | 200 |  |
| 886 | Holder for hypodermic needle box | Uson | Acrylic |  | 185 |  |
| 1193 | Hose | Various | PP, PE, PTFE |  | 716 |  |
| 1194 | Hose | Perfusor | PE | PA, PE | 115 |  |
| 1198 | Hose clip | Klik-M | PA | Cardboard | 0 |  |
| 1196 | Hose clip | 13648 | PA |  | 167 |  |
| 1197 | Hose holder | Devon Industries | PA | Polyester | 1294 |  |
| 1195 | Hose, smooth | Lindknud | PE | PE | 1083 |  |
| 888 | Hospital mattress | JM | Polythene | PE | 1176 | None |
| 923 | Hypodermic needle | Microlance-3 | PP | PE | 690 |  |
| 925 | Hypodermic needle | Sterican | PP | PA, PE | 115 |  |
| 926 | Hypodermic needle | Terumo Neolus | PP |  | 185 |  |
| 927 | Hypodermic needle | Vacutainer | PP, PE, PS | Cardboard | 62 |  |
| 924 | Hypodermic needle | Novofine | PP |  | 185 |  |
| 938 | Hypodermic needle box assorted |  | PE |  | 425 |  |
| 942 | Hypodermic needle box assorted | Sharpak | PP | Cardboard | 690 |  |
| 939 | Hypodermic needle box assorted |  | PP |  | 185 |  |
| 940 | Hypodermic needle box assorted | Smoke-coloured | PS, PP |  | 185 |  |
| 941 | Hypodermic needle box assorted | Safety | PS |  | 185 |  |
| 944 | Hypodermic needle box assorted | Uson plast | LDPP, PS |  | 1151 |  |
| 937 | Hypodermic needle box assorted |  | PP |  | 425 |  |
| 943 | Hypodermic needle box assorted | Uson | PP |  | 185 |  |
| 945 | Hypodermic needle box, Sharpsafe assorted | Sharpsafe | PP | PE | 892 |  |
| 928 | Hypodermic needle, artery | Boc Ohmeda | PP, PTFE | PVC, Tyvek | 99 |  |
| 929 | Hypodermic needle, disposable | Medi Plast | PP | PP | 21 | 0413 |
| 936 | Hypodermic needle, ear suction | Medi Plast | PP | PP | 21 | 0413 |
| 931 | Hypodermic needle, infusion | Vasofix | Flourethylene propylene | PA, PE | 115 |  |
| 930 | Hypodermic needle, infusion | Boc Ohmeda | PP, PTFE, PC | PE, Paper or PVC, | 99 |  |
| 932 | Hypodermic needle, Jamshidi | Baxter | Acetylene butylstyrene, L | Tyvek, multi-layer, free of PVC | 55 |  |
| 935 | Hypodermic needle, spinal | Spinocan | PP | PA, PE | 115 |  |
| 933 | Hypodermic needle, uptake | Boc Ohmeda | PP | PE, paper | 99 |  |
| 934 | Hypodermic needle, uptake with filter | Mini Spike Plus | ABS, CO, PP, PE | PA, PE | 115 |  |
| 1786 | Hypodermic needles for Monovette system | Sarstedt | PP | PE, cardboard | 353 | 0197 |
| 1755 | Hypodermic needles-IV | Codan | PP-PC-PE-PTFE | PP | 149 | 0088 |
| 918 | Ice bags, disposable | Articare | PE |  | 63 | 0124 |
| 919 | Ice bags, reusable | Articare | PE |  | 63 | 0124 |
| 904 | Incision drape | 3M Steri-Drape | PE | Cardboard | 1 | 0086 |
| 903 | Incision drape | 3M Ioban | PE | PE, cardboard | 1 | 0086 |
| 912 | Incontinence cover | Semi | PUR | PE | 539 |  |
| 1001 | Incontinence pad | Contrelle Activgard | PUR | Polyester | 153 | 0088 |
| 906 | Infusion container | PLM Langeskov | PP |  | 1296 |  |
| 907 | Infusion set | 59953 | PE |  | 427 |  |
| 908 | Infusion set | CODAN | SRT-ABS-PP | PP | 149 | 0123 |
| 909 | Infusion set | S75053 | PE |  | 427 |  |
| 910 | Infusion set | 920350 | PE |  | 427 |  |
| 911 | Infusion set, ivac | 152053 | PE |  | 427 |  |
| 905 | Infusion/transfusion set | Braun | Neutraden | PA, PE | 115 |  |
| 1147 | Inoculate ladle | Kartell/Elkay | PS |  | 716 |  |
| 1803 | Insert plugs, low and high form | Sarstedt | PP, PE | PE, cardboard | 353 |  |
| 914 | Instrument holder | Devon Industries | Polyester | N-A | 1294 |  |
| 915 | Introducer |  | PE | Free of PVC | 160 |  |
| 920 | Iodine capsules | Baxter | PP | Polyester, aluminium | 55 |  |
| 913 | Irrigation sleeve | Coloplast | PE |  | 153 | None |
| 1748 | Irrigation sleeve | Assura | EVA | Cardboard | 153 | None |
| 899 | ISO Han with coaxial studs D | 52041 | PP |  | 167 |  |
| 917 | Isolation mask | Performance | PP |  | 185 |  |
| 991 | Knee bandage, rehab | Bissell | PE (about 50 %) | PE | 134 |  |
| 990 | Knee bandage, Wender | Bissell | PE (about 20 %) | PE | 134 |  |
| 994 | Kolmi-plastic | Kolmi-Set | PE | PE | 438 |  |
| 1015 | Laboratory articles, disposable | Greiner | PC | PE | 1320 |  |
| 1016 | Laboratory articles, disposable | Greiner | PP | PE | 1320 |  |
| 1017 | Laboratory articles, disposable | Greiner | PS | PE | 1320 |  |
| 1018 | Laboratory articles, disposable | Greiner | PE | PE | 1320 |  |
| 1762 | Laboratory chairs | Ergotec | PP-Polyethylene | Cardboard | 259 |  |
| 1020 | Lami drape | Finess | PE |  | 343 |  |
| 1021 | Lancet | Vacutainer | PP, PS | PP | 62 |  |
| 1702 | Lancets | Softclix II | Sicostyrene, lupolene | Carton | 256 | 0297 |
| 1703 | Lancets | Softclix pro | Lupolene, sicostyrene | Carton | 256 | 0297 |
| 724 | Leg bag | Conveen Security + | PE |  | 153 | 0088 |
| 723 | Leg bag | 3M leg bags | PE, polyester | PE, cardboard | 1 | 0086 |
| 1780 | Leg splints (supports) |  | Pur/Polyamide |  | 720 |  |
| 1039 | Lid for bed bottle |  | PP |  | 185 |  |
| 1308 | Lid for feeding mug with 2 handles | Hammarplast | PP |  | 114 |  |
| 1036 | Lid for hypodermic needle bin | Uson Plast | PE/PP |  | 737 |  |
| 1038 | Lid for pill box | Medimax | SAN, | PE | 422 |  |
| 1037 | Lid for pill box | Medidos | SAN | PE | 422 |  |
| 1040 | Lid for water glass |  | PA |  | 185 |  |
| 1041 | Locking clips for change-over switch | 11930-08 | PA |  | 167 |  |
| 1027 | Loop | Utah Medical | PP, PC | Tyrek, Mylar | 29 |  |
| 1789 | Lowering support | Sarstedt | typer.htm | PE, cardboard | 353 | 0197 |
| 1028 | Luer adaptor | Vacutainer | PP | Cardboard | 62 |  |
| 1030 | Luer, female, (carotid set) | Hostaform C 9021 | POM | Cardboard, Tyvek, polyester | 687 |  |
| 1029 | Luer, female, (Lunderquist needle) | Hostaform C 9021 | POM | Tyvek, polyester, PE | 687 |  |
| 1032 | Luer, female, (Olbert balloon catheter, LP) | Hostaform C 9021 | POM | HIPS, Tyvek, polyester | 687 |  |
| 1031 | Luer, female, (Olbert balloon catheter, NP) | Hostaform C 9021 | POM | HIPS, Tyvek, polyester | 687 |  |
| 1033 | Luer, male, (carotid set) | Hostaform C 9021 | POM | Cardboard, Tyvek, polyester | 687 |  |
| 1034 | Luer, male, (Conn. low pressure) | Hostaform C 9021 | POM | Cardboard, Tyvek, polyester | 687 |  |
| 1035 | Luer, male, (Conn. medium pressure) | Hostaform C 9021 | POM | Cardboard, Tyvek, polyester | 687 |  |
| 1002 | Male cone, nylon 10mm straight B | 13641 | PA |  | 167 |  |
| 1003 | Male cone, nylon 8 mm straight B | 13640 | PA |  | 167 |  |
| 1004 | Male cone, nylon 8mm angled B | 13642 | PA |  | 167 |  |
| 1006 | Male/female cone 22 | 52012-R | PP |  | 167 |  |
| 1051 | Manipulator | Utah Medical | PUR | Tyrek, Mylar | 29 |  |
| 1052 | Mask | Kolmi-Set | PP |  | 438 |  |
| 1053 | Mask, anaesthesia |  | PSU | PE | 892 |  |
| 1055 | Mask, operations | Standard | PP |  | 185 |  |
| 1056 | Mask, operations | Tecnol | PP | Carton | 690 |  |
| 1054 | Mask, operations | Dualgard | PP |  | 185 |  |
| 1312 | Mat | Molinea | PE, | PE, cardboard | 690 |  |
| 1057 | Matrices |  | PE, PP, PA |  | 168 |  |
| 1043 | Mattress cover |  | PE |  | 185 |  |
| 1044 | Mattress cover | Clini-cover | PUR |  | 185 |  |
| 1042 | Mattress cover |  | PE | Cardboard | 690 |  |
| 1046 | Mattress cover | Inter Care | PUR | Carton | 381 |  |
| 1045 | Mattress cover | HDK | PE |  | 320 |  |
| 1048 | Mattresses | Crisco | PUR | PE | 161 |  |
| 1047 | Mattresses |  | PUR, ABS |  | 720 |  |
| 1049 | Mattresses and pillows | Decu-Dan | Polythene | PE | 113 |  |
| 1050 | Mattresses and pillows | SAF | Polyester | PE | 113 |  |
| 1776 | Mattresses, Antidecubitus |  | Pur |  | 720 |  |
| 1070 | Measuring container | Baxter Medivac | PE | Paper | 545 |  |
| 1071 | Measuring cup | Nalgene/Vit-Lab | PP |  | 716 |  |
| 1072 | Measuring cup | Uson Plast | PP |  | 737 |  |
| 1074 | Measuring cup lid |  | LDPE | Cardboard | 1237 |  |
| 1073 | Measuring cup, transparent | Super plast | SAN |  | 114 |  |
| 1075 | Measuring cylinder | Kartell/Nalgene | PP, TPX |  | 716 |  |
| 1077 | Measuring flask | Brand/Kartell/Nalgene | PP, TPX |  | 716 |  |
| 1076 | Measuring jug | Kartell/Nalgene | PP, TPX |  | 716 |  |
| 1079 | Measuring pipette | Science | PS | Cardboard | 484 |  |
| 1078 | Measuring pipette | Bibby | PS | PE, paper, cardboard | 1323 |  |
| 1060 | Medicine atomiser system | Intersurgical | ABS | PE, carton | 420 | 0120 |
| 1058 | Medicine bottle and lid |  | PP, PS | PE, carton | 727 |  |
| 1059 | Medicine measurer | Disposable | PP |  | 185 |  |
| 1720 | Medidos extra week set w/8 days' supply | Medidos | San/PP | PP | 422 | ---- |
| 884 | Membrane rupturer | GPS | ABS | Paper | 545 |  |
| 1062 | Mesh | Origin | PP | Paper | 545 |  |
| 1800 | Micro tube | Sarstedt | PP | PE, cardboard | 353 |  |
| 1064 | Micro-centrifuge tube | Multi | PP |  | 14 |  |
| 1063 | Micro-centrifuge tube | Brand/Elkay | PP, PE |  | 716 |  |
| 1066 | Micro-tube | Safelock/Eppendorf | PP |  | 614 |  |
| 1065 | Micro-tube | Safe-Twist/Eppendorf | PP, PE |  | 614 |  |
| 1067 | Mini cap | Baxter | PE | Polyester, aluminium | 55 |  |
| 1068 | Mini set | Medela | PP | Paper | 545 |  |
| 1791 | Monovette extractor | Sarstedt | Nylon | PE, cardboard | 353 |  |
| 1790 | Monovette stand | Sarstedt | typer.htm | PE, cardboard | 353 | 0197 |
| 1014 | Monovettes, closed blood extraction system | Sarstedt | PP, PE | PE-Cardboard | 353 | 0197 |
| 1787 | Multifly hypodermic needles for Monovette system | Sarstedt | PP | PE, cardboard | 353 | 0197 |
| 1082 | Nail cleaner | JDU-SCRUB | PS | PE | 718 |  |
| 902 | Name tag, adults | Precision | PE |  | 343 |  |
| 900 | Name tag, children | Precision | PE |  | 343 |  |
| 901 | Name tag, newborn | Precision | PE |  | 343 |  |
| 734 | Nappies | Komi-Set | PE | PE | 438 |  |
| 738 | Nappies | Tena | PE | PE | 534 |  |
| 737 | Nappies | Moliform | PE | PE, cardboard | 690 |  |
| 736 | Nappies | Molicare | Pe | PE, cardboard | 690 |  |
| 735 | Nappies | Libero | PE | PE | 534 |  |
| 740 | Nappies, children | Ultra Baby Soft | PE, PP | PE | 727 |  |
| 739 | Nappies, children | Bambo env. nappies | PE, PP | PE | 727 |  |
| 742 | Nappies, incontinence | Abri-San | PE, PP | PE | 727 |  |
| 741 | Nappies, incontinence | Abri-Form | PE, PP | PE | 727 |  |
| 743 | Nappies, night time |  | PE, PP |  | 185 |  |
| 1099 | Needle counter | Devon Industries | PS | Polyester | 1294 |  |
| 1788 | Needle tubs 0.7-5.0 l | Sarstedt | PP | PE, cardboard | 353 | 0197 |
| 1097 | Needle, biopsy hypodermic needle | TR +TM, (Gallini) | ABS | Polyester, paper | 29 |  |
| 1089 | Needle, biopsy hypodermic needle | Biomid, (Gallini) | PP, ABS | Blister, paper | 29 |  |
| 1098 | Needle, biopsy hypodermic needle | Tz - needles, (Gallini) | PC | Polyester, paper | 29 |  |
| 1096 | Needle, biopsy hypodermic needle | Speed cut, (Gallini) | ABS, | Polyester, paper | 29 |  |
| 1095 | Needle, biopsy hypodermic needle | Pro B, (Gallini) | PC | Polyester, paper | 29 |  |
| 1094 | Needle, biopsy hypodermic needle | ISAN, (Gallini) | ABS | Polyester, paper | 29 |  |
| 1093 | Needle, biopsy hypodermic needle | IBI, (Gallini) | PP, ABS | Polyester, paper | 29 |  |
| 1092 | Needle, biopsy hypodermic needle | IBI, (Gallini) | PP, ABS | Blister, paper | 29 |  |
| 1090 | Needle, biopsy hypodermic needle | Hepa IBI, (Gallini) | PP, ABS | Blister, paper | 29 |  |
| 1088 | Needle, biopsy hypodermic needle | Biomid, (Gallini) | PP, ABS | Polyester, paper | 29 |  |
| 1087 | Needle, biopsy hypodermic needle | BLN, (ProMed) | PC | Polyester, paper | 29 |  |
| 1086 | Needle, biopsy hypodermic needle | Aspiration, (ProMed) | PC | Polyester, paper | 29 |  |
| 1085 | Needle, biopsy hypodermic needle | ACRI, (Gallini) | ABS | Polyester, paper | 29 |  |
| 1091 | Needle, biopsy hypodermic needle | Hepa IBI, (Gallini) | PP, ABS | Polyester, paper | 29 |  |
| 1083 | Nest protector | Devon Industries | Polyester | N-A | 1294 |  |
| 1084 | Neutral plates | 3M Neutral plates | PE | Cardboard, paper | 1 | 0086 |
| 1179 | Ointment box with screw lid |  | PP |  | 185 |  |
| 1232 | Ostomy - basic plates | Coloplast/Assura | CMC, pectin, gelatine | Cardboard | 153 | 0088 |
| 1233 | Ostomy - basic plates | Assura/Convex | CMC: pectin, gelatine | Cardboard | 153 | 0088 |
| 1234 | Ostomy - convex insert | Assura | PE | Cardboard | 153 | None |
| 1747 | Ostomy paste | Coloplast Modelerbar | Polybutene, TPE CMC | Pet, Cardboard | 153 | 0088 |
| 1236 | Ostomy plates | Flexible | CMC, pectin, gelatine | PE | 157 | 0086 |
| 1238 | Ostomy plates | Ultra | CMC, pectin, gelatine | PE | 157 |  |
| 1235 | Ostomy plates | Durahesive | CMC, pectin, gelatine | PE | 157 |  |
| 1237 | Ostomy plates | Standard | CMC, pectin, gelatine | PE | 157 |  |
| 1192 | Overshoes | HDK | PE | PE, cardboard | 320 |  |
| 1191 | Overshoes |  | PE |  | 185 |  |
| 1104 | Overshoes, mattress cover |  | CPE | Carton | 727 |  |
| 1105 | Oxygenator | D701 Dideco Masterflo | PC | PE, PP, paper | 701 |  |
| 1106 | Oxygenator | D704 Compactflo | PC | PE, PP, paper | 701 |  |
| 610 | Packaging for instruments and implants | BASF | typer.htm | PA | 715 | 0123 |
| 1108 | Particle masks | 3M partikelmasker | PP | Cardboard | 1 |  |
| 1188 | Partitions for pill box | Medidos | SAN | PE | 422 |  |
| 1189 | Partitions for pill box | Medimax | SAN | PE | 422 |  |
| 1109 | Pasteur pipettes | Elkay | PE |  | 716 |  |
| 1110 | Patient tube UV flash | Baxter | EVA, LDPE, CTFE, PSU | PE, paper, cardboard | 55 |  |
| 1107 | PEG | Flocare | PUR, PP, HDPE, | PVC, paper, carton | 564 |  |
| 891 | Perforated cloths | 3M perforatec cloths | PE | PE, cardboard | 1 | 0086 |
| 1112 | Petri dishes | Bibby | PS | PE, cardboard | 1323 |  |
| 1111 | Petri dishes | Framoplast | PS |  | 716 |  |
| 1113 | Pill box | Medidos | SAN, | PE | 422 |  |
| 1114 | Pill box | Medimax | SAN | PE | 422 |  |
| 1115 | Pincette |  | PP |  | 185 |  |
| 1121 | Pipette tips | Eurotip, -box, -set/Eppendorf | PP, PC |  | 614 |  |
| 1126 | Pipette tips | Varitips, Maxitips/Eppendorf | PP, PE |  | 614 |  |
| 1124 | Pipette tips | Multi | PP | PP | 14 |  |
| 1116 | Pipette tips | Gilson | PP | PP | 82 |  |
| 1117 | Pipette tips | Rainin | PP | PP | 82 |  |
| 1118 | Pipette tips | Bibby | PP | PE, cardboard | 1323 |  |
| 1119 | Pipette tips | Brand/Elkay/MLA/Eppendorf | PP |  | 716 |  |
| 1120 | Pipette tips | Combitips/Eppendorf | PP, PE |  | 614 |  |
| 1122 | Pipette tips | Filtertip/Eppendorf | PP, PE |  | 614 |  |
| 1125 | Pipette tips | Standardtips/Eppendorf | PP |  | 614 |  |
| 1127 | Pipette washer | Kartell/Nalgene | PE |  | 716 |  |
| 1138 | Plaster | Compeed | CMC | PP | 153 | 0088 |
| 1135 | Plaster | Leukoflex Occlusiv | PE | Paper | 63 |  |
| 1139 | Plaster | Mepore | PE, | PE | 534 | 0086 |
| 858 | Plaster accessories | 3M Polster | Polyester | Cardboard | 1 | 0086 |
| 859 | Plaster accessories | 3M Stocknette | Polyester | Cardboard | 1 | 0086 |
| 1137 | Plaster, Leukofix | Leukofix | PUR | PUR | 63 | 0124 |
| 1136 | Plaster, Leukoflex | Leukoflex | PE | Paper | 63 | 0124 |
| 1141 | Plaster, sterile | Cutifilm plus | PUR | Paper | 63 | 0124 |
| 1140 | Plaster, sterile | Cutifilm | PUR | Paper | 63 | 0124 |
| 1145 | Plastic bag for X-ray. | SK emballage | PE | PE | 692 |  |
| 1128 | Plastic for cell cultivation | Nunc | PC | PE | 463 |  |
| 1129 | Plastic for cell cultivation | Nunc | PS | PE | 463 |  |
| 1130 | Plastic for cell cultivation | Nunc | PE | PE | 463 |  |
| 1131 | Plastic for immunology | Nunc | PS | PE | 463 |  |
| 1132 | Plastic for immunology | Nunc | PE | PE | 463 |  |
| 1133 | Plastic for immunology | Nunc | PP | PE | 463 |  |
| 1143 | Plastic vials | Nalge | PE |  | 499 |  |
| 1142 | Plastic vials | BN Instruments | PE | PE | 98 |  |
| 1134 | Plastic, disposable | Technoplast | PP |  | 499 |  |
| 1146 | Plexus anaesthesia set | Contiplex | PA | PA, PE | 0 |  |
| 1151 | Plugs | Boc Ohmeda | PP | PE, paper | 99 |  |
| 894 | Portable bedpan |  | PS |  | 185 |  |
| 1297 | Pressure cap | 31116-02 etc. | PA |  | 167 |  |
| 1298 | Pressure cap, nylon | 31073-01 etc. | PA |  | 167 |  |
| 1299 | Pressure cuff | Medex | PE |  | 690 |  |
| 1300 | Pressure hose, IV | Medex | PE |  | 690 |  |
| 1202 | Probe | Memo | PUR, | PE, paper, carton | 564 |  |
| 1203 | Probe | Pursoft | PUR | Paper, carton | 564 |  |
| 1204 | Probe cap | Flocare | HDPE | LDPE, carton | 564 |  |
| 1150 | Proctoscope | Wing-plast | PS | Paper | 545 |  |
| 1267 | Products for the care of wounds | 3M Tegaderm | PUR | PE, cardboard | 1 | 0086 |
| 1268 | Products for the care of wounds | 3M Tegasorb | PUR | PE, cardboard | 1 | 0086 |
| 1155 | Prostheses | Otto Bock | PMMA | Sheet metal | 568 |  |
| 1152 | Prosthesis cup |  | PP |  | 185 |  |
| 1153 | Prosthesis cup |  | SB | Cardboard | 1237 |  |
| 1154 | Prosthesis cup lid |  | HDPE | Cardboard | 1237 |  |
| 1156 | Prosthesis toothbrush |  | PP | Cardboard | 1237 |  |
| 725 | Protective cap | 12097R | PC |  | 167 |  |
| 726 | Protective cap for hypodermic needle | Zinacef and Fortum Monovial | Polymer resin |  | 302 |  |
| 1804 | Protective equipment | Merck | Acrylic |  | 716 |  |
| 1157 | Protoscopes | Heine | PE, | Paper | 545 |  |
| 1167 | Pumps | Burkle | PE, PP |  | 716 |  |
| 1166 | Pus basins | Uson Plast | PS |  | 737 |  |
| 1168 | Reagent container | Hamilton | PP |  | 742 |  |
| 1149 | Rebound plate for absorber chamber | 11056-03 | SAN |  | 167 |  |
| 1172 | Rectal tip 150-15v+sv | Pf-medical | Plasticol | PE | 589 |  |
| 1173 | Rectal tip 160-10v+sv | Pf-medical | Plasticol | PE | 589 |  |
| 1174 | Rectal tip 600-00v+s | Pf-medical | Plasticol | PE | 589 |  |
| 1175 | Rectal tip 700-00v+s | Pf-medical | Plasticol | PE | 589 |  |
| 1177 | Rectoscope | Welch Allyn | PP | PE | 690 |  |
| 1176 | Rectoscope | Heine | PE, PS |  | 545 |  |
| 1069 | Resistances | PEP/RMT ventiler | PA | PE | 892 |  |
| 1178 | Respiflo bubble humidifier | Kendall | PP | PE, carton | 420 | 0123 |
| 1795 | Salviette w/polyester wadding | Sarstedt | PE, PS | PE, cardboard | 353 |  |
| 892 | Sanitary towels |  | PE, PP |  | 185 |  |
| 893 | Sanitary towels | Libresse | PE | PE | 534 |  |
| 1801 | Sanz tube | Sarstedt | PP, PE | PE, cardboard | 353 |  |
| 1187 | Scalpel holder | Devon Industries | PS | Polyester | 1294 | 0086 |
| 1185 | Serological pipettes | Corning/Elkay | PE, PP, PS |  | 716 |  |
| 1186 | Serum pipettes | Scott | PE | Cardboard | 484 |  |
| 1811 | Serviettes, OP, with X-ray thread, various sizes | Vald.Larsen | X-ray thread free of PVC | Paper/cardboard | 1208 | 22754017 |
| 1269 | Set, epidural | Perifix | PA | PA, PE | 0 |  |
| 1190 | Skin stapler | Leukoclip SD | PE | PE/paper | 63 | 0124 |
| 1206 | Spatula, disposable | Struers Chem | PS |  | 166 |  |
| 1208 | Special sanitary towels | Conveen | PP, PE |  | 153 |  |
| 1207 | Special sanitary towels for women | Conveen | PE | PE | 153 | 0088 |
| 1161 | Specimen boxes | Prohosp | PC |  | 607 |  |
| 1160 | Specimen tube | Elkay/Kartell/Var. | PS, PP, PE, PC |  | 716 |  |
| 1722 | Spinal catheter | Kendall | Polyamid | PE, carton | 420 | 0123 |
| 1226 | Spitting mug | Uson Plast | PS |  | 737 |  |
| 1255 | Sponge | JDU-SCRUB | Polythene | PE | 718 |  |
| 1338 | Sponge with soap | ARBI skum | PUR | PE | 1304 |  |
| 1256 | Sponge, disposable |  | Polythene | PE | 727 |  |
| 1727 | Sterisol sterile eye rinse |  | PP/PE | Cardboard | 369 |  |
| 1240 | Stop cocks |  | PC |  | 0 |  |
| 1241 | Stoppers |  | PE | PA, PE | 0 |  |
| 1242 | Striflo cap | Flocare | HDPE | Polyester, paper, ka | 564 |  |
| 1244 | Suction and diathermy bag | 3M Instrument tape | PE | PE, cardboard | 1 | 0086 |
| 1248 | Suction bag | Serres | PO | Cardboard | 21 | 0537 |
| 1688 | Suction bag 1l | Serres | PE, PE-LD | Carton | 21 | 0537 |
| 1689 | Suction bag 2.3l | Serres | PE, PE-LD | Carton | 21 | 0537 |
| 1690 | Suction bag 3l | Serres | PE, PE-LD | Carton | 21 | 0537 |
| 1245 | Suction container | Serres | PO | Cardboard | 21 | 0537 |
| 1246 | Suction container, disposable | Bemis | PS |  | 690 |  |
| 1247 | Suction container, disposable | Bemis | PE |  | 690 |  |
| 1249 | Suction pipe |  | PP |  | 185 |  |
| 1250 | Suction tip B | 13661 | PA |  | 167 |  |
| 1251 | Suction tip with cone B | 13662 | PA |  | 167 |  |
| 1779 | Support harness for wheelchair / bed |  | Pur/Polyamide |  | 720 |  |
| 1252 | Suprapubic bladder drain | Cystofix | PUR | PA, PE | 0 |  |
| 978 | Surgical masks | 3M OP masks | PP, PE | Cardboard | 1 | 0086 |
| 1725 | Surgical tape | Micropore | Rayon | Cardboard | 1 | 0086 |
| 1813 | Swabs, OP, with X-ray thread, various sizes | Vald Larsen | X-ray thread free of PVC | Paper/cardboard | 1208 | 22754017 |
| 1217 | Syringe | Terumo | PP, |  | 185 |  |
| 1213 | Syringe |  | PE |  | 716 |  |
| 1214 | Syringe | Perfusor | PP | PA, PE | 115 |  |
| 1212 | Syringe |  | PE | HIPS, Tyvek, polyester | 687 |  |
| 1216 | Syringe | Plastipak | PP | PE | 690 |  |
| 1215 | Syringe | Pharma-Plast | PP |  | 590 |  |
| 1774 | Syringe 120 ml | Ivac 30120 | PE |  | 427 |  |
| 1773 | Syringe 50 ml | Ivac 30602N | typer.htm |  | 427 |  |
| 1773 | Syringe 50 ml | Ivac 30602N | PE |  | 427 |  |
| 1218 | Syringe for bone cement | Cem-vac | PA, | PA, Tyvek | 608 |  |
| 1219 | Syringe, 2 comp. | Injekt | PP | PA, PE | 0 |  |
| 1220 | Syringe, 3 comp. | Omnifix | PP | PA, PE | 115 |  |
| 1221 | Syringe, artery | QS50/Radiometer | PP |  | 614 |  |
| 1223 | Syringe, artery, (plunger tip cap) | QS90/Radiometer | PP | PET, ALU, PE | 614 |  |
| 1222 | Syringe, artery, (syringe) | QS90/Radiometer | PP | PET, aluminium, PE | 614 |  |
| 1224 | Syringe, Eppendorf | Kartell | PP | Cardboard | 484 |  |
| 1225 | Syringe, hypodermic needle | Sherwood | PP | Paper | 545 |  |
| 1754 | Syringes 3 comp. | Once | PP-SIL | PP | 149 | 0301 |
| 1270 | T piece | 42012-07R etc. | PP |  | 167 |  |
| 1271 | T piece for CO2 monitor | 13629 | PP |  | 167 |  |
| 1272 | T piece with knob | 13633-R | PP |  | 167 |  |
| 1274 | Tablet divider |  | PS |  | 185 |  |
| 873 | Tap, 2-way, (BroomT Cho. cat.) | Hostaform C 27021-22 | POM | Tyvek, polyester, PE | 687 |  |
| 874 | Tap, 2-way, (BroomT Cho. cat.) | Lexan 114R-112 | PC | Tyvek, polyester, PE | 687 |  |
| 876 | Tap, 2-way, (conn. low pressure) | Lexan 114 R-112 | PC | Cardboard, Tyvek, polyester | 687 |  |
| 875 | Tap, 2-way, (conn. low pressure) | Hostaform C 27021-22 | POM | Cardboard, Tyvek, polyester | 687 |  |
| 878 | Tap, 2-way, (conn. medium pressure) | Hostaform C 27021-22 | POM | Cardboard, Tyvek, polyester | 687 |  |
| 877 | Tap, 2-way, (conn. medium pressure) | Lexan 114 R-112 | PC | Cardboard, Tyvek, polyester | 687 |  |
| 879 | Tap, 3-way | Boc Ohmeda | PC | PE, paper | 99 |  |
| 881 | Tap, 3-way | Medex | PE |  | 690 |  |
| 880 | Tap, 3-way | Discofix | PC, PE | PA, PE | 115 |  |
| 1726 | Tape suture | Steri-strip | Rayon/polyester | Cardboard | 1 | 0086 |
| 1276 | Tape, fixing | 3M Blenderm | PE | Cardboard | 1 | 0086 |
| 1277 | Tape, fixing | 3M Tranpore | EVP | Cardboard | 1 | 0086 |
| 1210 | Tapered glass | Gibo | PC |  | 0 |  |
| 1209 | Tapering bed pan |  | PP |  | 185 |  |
| 882 | Taps | Brand/Kartell | PE, PP, PTFE |  | 716 |  |
| 1254 | Teats | Pussycat | PC | LDPE | 1251 |  |
| 1158 | Temporary crowns | 3M Polycarbonat kroner | PC | PE, PS, cardboard | 1 |  |
| 1159 | Temporary crowns | Produits Dentaires SA | PE, PP, PA |  | 168 |  |
| 1284 | Test tube | Gamma stopper | LDPE | LDPE, cardboard | 584 |  |
| 1164 | Test tube | Bibby | PE | PE, cardboard | 1323 |  |
| 1280 | Test tube | 5 ml tube | LDPE | LDPE, cardboard | 584 |  |
| 1281 | Test tube | 7 ml tube | LDPE | LDPE, cardboard | 584 |  |
| 1289 | Test tube | Test tube N1 | LDPE | LDPE, cardboard | 584 |  |
| 1283 | Test tube | GB stopper | LDPE | LDPE, cardboard | 584 |  |
| 1285 | Test tube | Gamma tube | PP | LDPE, cardboard | 584 |  |
| 1169 | Test tube | Falcon | PS | PE | 62 |  |
| 1170 | Test tube | Falcon | PP | ULDPE | 62 |  |
| 1286 | Test tube | HP stopper | LDPE | LDPE, cardboard | 584 |  |
| 1287 | Test tube | Long stopper | LDPE | LDPE, cardboard | 584 |  |
| 1288 | Test tube | Mini-vials | PP | LDPE, cardboard | 584 |  |
| 1162 | Test tube | Bibby | PP | PE, cardboard | 1323 |  |
| 1163 | Test tube | Bibby | PS | PE, cardboard | 1323 |  |
| 1282 | Test tube | Band stopper | LDPE | LDPE, cardboard | 584 |  |
| 1171 | Test tube holders | Nalgene/Kartell/Var.Usa scientific | PP, PC, PA |  | 716 |  |
| 1279 | Thermometer protectors | Steri temp etc. | PE | PE | 892 |  |
| 1290 | Thorax bottles | Deknatel | PC, | Paper, Tivac | 701 |  |
| 1291 | Thumb splint 20546 | Bissell | PE | Carton | 134 |  |
| 1781 | Toilet raisers |  | PP |  | 720 |  |
| 1310 | Tongue holders | Unovex | PE |  | 690 |  |
| 1309 | Tongue holders | Sims/Portex | EUA/nylon |  | 892 |  |
| 1293 | Top cover | 12094-02R | POM |  | 167 |  |
| 1292 | Top for absorber chamber | 11056-01 | SAN |  | 167 |  |
| 1294 | Tracheal dressing | Allevyn | PUR |  | 185 |  |
| 1296 | Transfusion set | CODAN | SRT-ABS-PP | PP | 149 | 0123 |
| 719 | Treatment boots, Walker | Bissell | PE | PE | 134 |  |
| 1301 | Tube extensions | Intersurgical | PE, ABS | PE, carton | 420 | 0120 |
| 1205 | Tube feeding bottle & caps |  | PE | PE, carton | 727 |  |
| 1796 | Tube with medication | Sarstedt | PP | PE, cardboard | 353 |  |
| 1799 | Tube with swab stick | Sarstedt | PP, PE | PE, cardboard | 353 |  |
| 1797 | Tube, plastic | Sarstedt | PP, PE, PS | PE, cardboard | 353 |  |
| 1798 | Tube, plastic, sterile | Sarstedt | PP, PE, PS | PE, cardboard | 353 |  |
| 1302 | Tubes | Nordiska tub | HDPE |  | 213 |  |
| 1303 | Tubing, (Conn. medium pressure) | Lupolen 1810 D | PE | Cardboard, Tyvek, polyester | 687 |  |
| 1304 | Tubing, (Lunderquist needle) | Escorene 181-35 | PE | Tyvek, polyester, PE | 687 |  |
| 1305 | Tubing, (Lunderquist needle) | Vestolen A 6042 | PE | Tyvek, polyester, PE | 687 |  |
| 1306 | Tubing, (sialography catheter) | Lupolen 1810 D | PE | Tyvek, polyester, PE | 687 |  |
| 1081 | Umbilical clamp |  | PP |  | 0 |  |
| 787 | Uniform for operations |  | Polyester |  | 720 |  |
| 1314 | Ureter stents | Urosoft, Angiomed | PUR | Sterile packaging, pa | 0 |  |
| 1313 | Ureter stents | Grey stent, Angiomed | PUR | Sterile packaging, pa | 0 |  |
| 1315 | Uridom | Conveen Security+ | Thermoplastic elastic | Polyester | 153 | 0088 |
| 1316 | Urinal |  | PE |  | 185 |  |
| 1717 | Urine bag | Greenline | PE | Cardboard | 425 |  |
| 1331 | Urine bag | Conveen Security+ | PE |  | 153 | 0088 |
| 1329 | Urine collection bag | Conveen security+ | PE |  | 153 |  |
| 1330 | Urine collection bag, baby | Coloplast | PE |  | 153 | None |
| 1327 | Urine collection bag, children |  | PE | PE; cardboard | 0 |  |
| 1328 | Urine collection bag, Greenline |  | PE | PE, cardboard | 0 |  |
| 1326 | Urine collection glass |  | PP, PS |  | 573 |  |
| 1317 | Urine containers | Uson Plast | PS |  | 737 |  |
| 1318 | Urine cups | Brand | PE |  | 716 |  |
| 1319 | Urine cups, 125 ml |  | PP |  | 573 |  |
| 1321 | Urine flask |  | PP | Cardboard | 1237 |  |
| 1320 | Urine flask |  | PP |  | 185 |  |
| 1324 | Urine flask for men |  | PP |  | 425 |  |
| 1323 | Urine flask for men |  | PC |  | 425 |  |
| 1322 | Urine flask for women |  | PP |  | 425 |  |
| 1793 | Urine jars 500 & 2500 ml | Sarstedt | PE | PE, cardboard | 353 |  |
| 1325 | Urine meter - chamber | Kendall | ABS | PE, carton | 420 | 0123 |
| 1792 | Urine Monovettes | Sarstedt | PP, PE | PE, cardboard | 353 |  |
| 1332 | Urine test set | Magenta | PS, PE | Cardboard | 484 |  |
| 1333 | Vacuum Asp. curette | Rocket | HDPE | Paper, 30 % PA, 70 % | 545 |  |
| 1334 | Vaginal specula | Welch Allyn | PP | PE | 690 |  |
| 1342 | Valve seat | 11785-10 | PUR |  | 167 |  |
| 1340 | Valves, etc. | PEP/RMT valves | PC | PE | 892 |  |
| 1341 | Valves, venturi | Intersurgical | PP | PE, carton | 420 | 0123 |
| 1339 | Ventilation equipment | Laerdal | PSU | PE | 449 | 0470 |
| 1345 | Vessel dilator, female Luer | Hostaform C 9021 | POM | HIPS, Tyvek, polyester | 687 |  |
| 1346 | Vessel dilator, fitting | Hostalen PPT 1070 | PP | HIPS, Tyvek, polyester | 687 |  |
| 1344 | Vessel dilator, tubing | Escorene 181-35 | PE | HIPS, Tyvek, polyester | 687 |  |
| 1347 | Vessel dilator, tubing | Vestolen A 6042 | PE | HIPS, Tyvek, polyester | 687 |  |
| 946 | Vessel graft | Baxter | PTFE | PE, Tyvek, cardboard | 55 |  |
| 1349 | Volume indicator | 51025-50 | POM |  | 167 |  |
| 1335 | Washable sheet | Clini-cover | PUR |  | 185 |  |
| 986 | White coat, protective | Kolmi-Set | PP |  | 438 |  |
| 985 | White coat, protective |  | PP |  | 185 |  |
| 980 | White coats | Klinidrape | PE, | PE | 534 | 0086/0537 |
| 982 | White coats, OP | 3M Standard | Polyester | PE, cardboard | 1 | 0086 |
| 984 | White coats, OP | Baxter | PE | LDPE, polyester, cardboard | 55 |  |
| 983 | White coats, OP | Kolmi-Set | PE | PE | 438 |  |
| 1144 | Wire stands with plastic cover | K-L | PE | Cardboard | 353 |  |
| 1258 | Wound and operation film | Visulin | PUR |  | 425 |  |
| 1262 | Wound drainage system | Redyrob | PUR | PA, PE | 0 |  |
| 1263 | Wound sheets | Cutinova Hydro | PUR | Paper | 63 | 0124, |
| 1264 | Wound sheets | Cutinova Foam | PUR | Paper | 63 | 0124 |
| 1265 | Wound sheets | Cutinova Cavity | PUR | Paper | 63 | 0124 |
| 1266 | Wound sheets | Cutinova Thin | PUR | Paper | 63 | 0124 |
| 1350 | Y pipe | 12955 | PP |  | 167 |  |
| 1351 | Y pipe and T pipe |  | PP |  | 185 |  |

Obaly medicínskych pomôcok:

| Chyba! Záložka není definována.Id | Product | Trade mark | Plastic type | Packaging | Supplier No. | CE |
| --- | --- | --- | --- | --- | --- | --- |
| 597 | Absorbent bandages | Zetuvit | typer.htm | PE, cardboard | 690 |  |
| 596 | Absorbent bandages | Euron-pads | typer.htm | PE, cardboard | 690 |  |
| 598 | Adhesives | 3M Scotchbond Dual-Cure | typer.htm | PE, PS, cardboard | 1 |  |
| 599 | Adhesives | 3M Scotchbond Multi-Purpose | typer.htm | PE, PS, cardboard | 1 |  |
| 600 | Asthma capsules | Unolin | typer.htm | PP | 1 |  |
| 602 | Asthma spray | Pulmadil | typer.htm | PP | 1 |  |
| 603 | Asthma spray | Sabulin | typer.htm | PP | 1 |  |
| 601 | Asthma spray | Isoprenalin | typer.htm | PP | 1 |  |
| 604 | Asthma spray, free of freon | Airomir | typer.htm | PP | 1 |  |
| 605 | Asthma tablets | Nuelin | typer.htm | PP | 1 |  |
| 672 | Bandages for wounds | Kaltostat | typer.htm | PE, polyester | 157 | 0086 |
| 641 | Bed paper |  | typer.htm | PE | 283 |  |
| 606 | Blister pack | Tscheulin | typer.htm | PE | 319 |  |
| 696 | Bottom cap | Eye drops | typer.htm | PP | 712 |  |
| 626 | Cap for dropping bottle | Stella | typer.htm | PP | 319 |  |
| 635 | Cap for vial | Pharma metal/Schubert-seals | typer.htm | PP | 319 |  |
| 636 | Caps | 122-cap | typer.htm | PP | 712 |  |
| 637 | Chemical jars | Agfa | typer.htm | PE | 13 | None |
| 673 | Compress for wounds | Mojst | typer.htm | Polyester | 690 |  |
| 608 | Dialysis filters | ASAHI | typer.htm | PC | 943 | 0086 |
| 609 | Drip unit | Stella | typer.htm | PE | 319 |  |
| 688 | Filling material | 3M Concise | typer.htm | PE, PS, cardboard | 1 |  |
| 689 | Filling material | 3M P-10 | typer.htm | PE, PS, cardboard | 1 |  |
| 690 | Filling material | 3M P-50 | typer.htm | PE, PS, cardboard | 1 |  |
| 691 | Filling material | 3M Silar | typer.htm | PE, PS, cardboard | 1 |  |
| 692 | Filling material | 3M Silux Plus | typer.htm | PE, PS, cardboard | 1 |  |
| 693 | Filling material | 3M Z100 | typer.htm | PE, PS, cardboard | 1 |  |
| 616 | Finishing materials | 3M Soft-Lex | typer.htm | PE, PS, cardboard | 1 |  |
| 614 | Fixation tie | Lastotel | typer.htm | PE, cardboard | 690 |  |
| 615 | Fixation tie | Peha-Crepp | typer.htm | PE, cardboard | 690 |  |
| 617 | Gauze compress | Otto Broe | typer.htm | PE, cardboard | 690 |  |
| 618 | Gauze swabs | Otto Broe | typer.htm | PE, cardboard | 690 |  |
| 620 | Glass ionomer | 3M Vitramer | typer.htm | PE, PS, cardboard | 1 |  |
| 619 | Glass ionomer | 3M Vitrabond | typer.htm | PE, PS, cardboard | 1 |  |
| 627 | Hand cream | Cremedas | typer.htm | PE | 690 |  |
| 622 | Heart medicine | Tambocor | typer.htm | PP | 1 |  |
| 624 | Hollow drill |  | typer.htm | Tyvek, polyester, PE | 687 |  |
| 631 | Hypodermic needle |  | typer.htm | Tyvek, polyester, PE | 687 |  |
| 632 | Hypodermic needle | Carotid Set | typer.htm | Cardboard, Tyvek, polyester | 687 |  |
| 633 | Hypodermic needle, lumbar | Medi plast | typer.htm | PP | 21 | 0413 |
| 634 | Hypodermic needle, special | Medi Plast | typer.htm | PP | 21 | 0413 |
| 697 | Infection of the urinary tract | Haiprex | typer.htm | PP | 1 |  |
| 629 | Infusion liquid | Excel 500 ml-1000 ml | typer.htm | PP | 591 |  |
| 628 | Inner packaging | Gentacoll | typer.htm | HDPE, polyester, LDP | 676 | 0123 |
| 630 | Isotonic salt water | Otto Broe | typer.htm | PE | 690 |  |
| 639 | Klorhexidine |  | typer.htm | PE | 185 |  |
| 640 | Lancet | EWO Priklancet | typer.htm | PE | 233 |  |
| 699 | Liquid for ABL systems | Radiometer | typer.htm | HDPE, POM, PEH, Santr | 614 |  |
| 646 | Massage oil | Massage oi1, | typer.htm | PE | 509 |  |
| 645 | Massage oil | Massage oil 6 | typer.htm | PE | 509 |  |
| 642 | Medicament | Multiload | typer.htm | PE, PA, PP, PE, PS | 0 |  |
| 643 | Medicament | Ovestin cream | typer.htm | HDPE, PS | 0 |  |
| 644 | Medicament | Restandol | typer.htm | HDPE, LDPE | 0 |  |
| 647 | Migraine spray | Ergotermin | typer.htm | PP | 1 |  |
| 649 | Mixture bottle | Medicaments | typer.htm | PE | 36 |  |
| 648 | Mixture bottle | Medicaments | typer.htm | PET | 36 |  |
| 650 | Mouthwash/sports cream | Andolex | typer.htm | PP | 1 |  |
| 651 | Nitro glycerine plaster | Discotrine | typer.htm | PP | 1 |  |
| 668 | Ointment compress | Grassolind | typer.htm | PE, cardboard | 690 |  |
| 613 | Packaging | Test tubes | typer.htm | PE | 78 |  |
| 612 | Packaging | Tablets | typer.htm | PE | 756 |  |
| 611 | Packaging | Johnson & Johnson | typer.htm | HDPE | 0 |  |
| 653 | Plaster, OP | Cosmopor | typer.htm | PE, cardboard | 690 |  |
| 652 | Plastic ampoules | Medicaments | typer.htm | PP | 36 |  |
| 659 | Plastic bottle, medicine | Valby bakelit og Plastfabrik | typer.htm | PE | 319 |  |
| 660 | Plastic bottle, medicine | Valby bakelit og Plastfabrik | typer.htm | PP | 319 |  |
| 658 | Plastic bottle, medicine | Panter Plast | typer.htm | PA | 319 |  |
| 657 | Plastic bottle, medicine | Panter Plast | typer.htm | PE | 319 |  |
| 656 | Plastic bottle, medicine | Panter Plast | typer.htm | PP | 319 |  |
| 655 | Plastic bottle, medicine | Panter Plast | typer.htm | PE | 319 |  |
| 661 | Plastic bottle, medicine | Valby bakelit og Plastfabrik | typer.htm | PE | 319 |  |
| 662 | Plastic syringe | Panter Plast | typer.htm | PE | 319 |  |
| 663 | Plastic syringe | Panter Plast | typer.htm | PE | 319 |  |
| 664 | Plastic syringe | Panter Plast | typer.htm | PE | 319 |  |
| 684 | Plastic tablet holder | Medicaments | typer.htm | PE | 36 |  |
| 674 | Products for nursing wounds | 3M Tegapore | typer.htm | PE, cardboard | 1 | 0086 |
| 671 | Rinsing fluid | Octavia and Flexinol | typer.htm | PP | 591 | 0434 |
| 667 | Salt water |  | typer.htm | PE | 185 |  |
| 669 | Scanning gel, Aquasonic | Hospilab | typer.htm | PP | 343 |  |
| 670 | Screw cap for mixture bottle | Eraco | typer.htm | PP | 319 |  |
| 623 | Skin cream | Spenol | typer.htm | PE | 690 |  |
| 638 | Surgical instruments |  | typer.htm | PE | 690 |  |
| 683 | Tablet holder | Panter Plast | typer.htm | PP | 319 |  |
| 681 | Tablet holder | Knudsen Plast | typer.htm | PP | 319 |  |
| 680 | Tablet holder | Knudsen Plast | typer.htm | PP | 319 |  |
| 678 | Tablet holder | Glaskontor | typer.htm | PE | 319 |  |
| 677 | Tablet holder | Eraco | typer.htm | PE | 319 |  |
| 676 | Tablet holder | Dudex plast | typer.htm | PE | 319 |  |
| 675 | Tablet holder | AB Cerbo | typer.htm | PE | 319 |  |
| 679 | Tablet holder | Glaskontor | typer.htm | PE | 319 |  |
| 682 | Tablet holder | MG plast | typer.htm | PE | 319 |  |
| 685 | Tablets |  | typer.htm | Glass | 371 |  |
| 666 | Temporary crowns | 3M steel crowns | typer.htm | PE, PS, cardboard | 1 |  |
| 665 | Temporary crowns | 3M Iso Form | typer.htm | PE, PS, cardboard | 1 |  |
| 686 | Tooth cement | 3M Opal Porcelćn Cement | typer.htm | PE, PS, cardboard | 1 |  |
| 687 | Tooth cement | 3M Vitramer Krone/brocement | typer.htm | PE, PS, cardboard | 1 |  |
| 694 | Top cap | Eye drops | typer.htm | PP | 712 |  |
| 1704 | Tubs for blood glucose strips | Accutrend | Pe | Carton | 1351 |  |
| 1705 | Tubs for urine test strips | Accutrend | Pe | Carton | 1351 |  |
| 1706 | Tubs for urine test strips | Boehringer Mannheim | Pe | Carton | 1351 |  |
| 695 | Ultrasound gel | Kombigel | typer.htm | PE | 509 |  |
| 607 | Wadding | Pehazell | typer.htm | PE, cardboard | 690 |  |
| 698 | Warming ointment | Muscle warming | typer.htm | PE | 509 |  |
| 625 | Wasp spray | Adrelin | typer.htm | PP | 1 |  |

Alternatívy v oblasti kancelárskych aplikácií :

| Chyba! Záložka není definována.Id | Product | Trade mark | Plastic type | Packaging | Supplier No. | CE |
| --- | --- | --- | --- | --- | --- | --- |
| 404 | Adhesive cover |  | PP |  | 857 |  |
| 405 | Adhesive folders | Bindomatic | PET, | Carton | 235 |  |
| 406 | Adhesive folders | CC & CO | PE | Carton | 773 |  |
| 291 | Alphabet | Bantex | PP | Cardboard (recycled) | 400 |  |
| 292 | Alphabet for pocket ring binder | A Behrend | PP | PE | 390 |  |
| 289 | AT/AT+ tips | Hamilton | PP |  | 742 |  |
| 293 | Ball liner R50 | Pentel | PP | Cardboard | 390 |  |
| 395 | Ballpoint pen, assorted colours | Liberty | PP | PE | 587 |  |
| 391 | Ballpoint pen, assorted colours | Esselte | PP | Cardboard | 25 |  |
| 394 | Ballpoint pen, assorted colours | Liberty | ABS | PE | 587 |  |
| 393 | Ballpoint pen, assorted colours | Liberty | ABS | PE | 587 |  |
| 392 | Ballpoint pen, assorted colours | KOFA/Esselte | PP | Cardboard | 658 |  |
| 390 | Ballpoint pen, assorted colours | Bic | PP | Cardboard | 390 |  |
| 396 | Ballpoint pen, MP, assorted colours | Millerpen | PP | Cardboard | 400 |  |
| 294 | Basko wastepaper basket | Esselte | PP |  | 390 |  |
| 295 | Bind-o-matic cover | ECK | PET | Carton | 390 |  |
| 378 | Binding wire | Ibiwire | PA |  | 0 |  |
| 554 | Board marker |  | PP |  | 857 |  |
| 555 | Board wiper |  | PS |  | 857 |  |
| 1686 | Book plastic **** | Pilzecker | PP | PP | 49 |  |
| 385 | Card file boxes |  | PS |  | 857 |  |
| 343 | Case |  | PP |  | 857 |  |
| 345 | Case | Esselte | PP | Carton | 390 |  |
| 344 | Case | BICP/All plast | PP | Cardboard (recycled) | 400 |  |
| 346 | Case, assorted sizes | Due | PP |  | 400 |  |
| 384 | Catalogue holder | Gustavsberg | PS | Carton | 390 |  |
| 1710 | Chair mat | Imdan and Exdan | PC | Paper | 1353 |  |
| 521 | Chair mat, Exdan | Imexpo | PC |  | 390 |  |
| 386 | Clamp spines | Tukan | PP | PP | 390 |  |
| 328 | Clear tape | Tesa | PP | PP | 390 |  |
| 329 | Clip boy | Arlac | PP | Cardboard | 390 |  |
| 362 | Colour fastening film | 3M Scotchtint | Polyester | Cardboard | 1 |  |
| 330 | Combi file | Mols Plast | Oekolon | Cardboard | 527 |  |
| 388 | Congress badges and table name plates |  | PET, |  | 857 |  |
| 483 | Correcting fluid | Chr. Olsen | PP | PP | 390 |  |
| 484 | Correcting fluid | Pentel | PP |  | 390 |  |
| 331 | Correction, universal | Chr. Olsen | PA |  | 390 |  |
| 431 | Cover |  | PP | Paper | 562 |  |
| 332 | D clips | Dansk Kartotek fabrik | PE | Cardboard | 390 |  |
| 333 | Data cartridge | 3M | PE | Cardboard | 1 |  |
| 334 | Data tape 4-8 mm | 3M | PE | Cardboard | 1 |  |
| 434 | Deletion pens, assorted colours | Staedtler | PP |  | 400 |  |
| 373 | Delivery note pockets | Crown | PP | Cardboard | 390 |  |
| 335 | Demo files |  | PP |  | 857 |  |
| 478 | Desk organiser, Bene | Dansk Kartotek fabrik | PP | Cardboard (recycled) | 390 |  |
| 1676 | Diary cover | All Plast | PP | Cardboard | 20 | None |
| 383 | Diary cover | Roal Plast | PP |  | 856 |  |
| 382 | Diary cover | Roal Plast | EVA |  | 856 |  |
| 1772 | Diary with cover made of EVA |  | EVA |  | 609 |  |
| 381 | Diary with PP cover |  | PP |  | 609 |  |
| 336 | Diskette box | Bantex | PE | Carton | 773 |  |
| 337 | Diskette box | Bantex | PS, | Carton | 390 |  |
| 338 | Diskettes | 3M | PE | Cardboard | 1 |  |
| 1742 | Divider | Esselte | PP | Cardboard | 647 | None |
| 1675 | Dividers | All Plast | PP | Cardboard | 20 | None |
| 352 | Dividers | Esselte | PP | Carton | 390 |  |
| 350 | Dividers |  | PP | Carton | 74 |  |
| 351 | Dividers | Esselte | PP | Cardboard | 25 |  |
| 354 | Dividers | Neptun plast | PP |  | 133 |  |
| 353 | Dividers | KOFA/Esselte | PP | Cardboard | 658 |  |
| 356 | Dividers, with 5 and 10 divisions | Esselte | PP |  | 400 |  |
| 355 | Dividers, with 5 and 10 divisions | Bantex | PP |  | 400 |  |
| 397 | Envelope pockets |  | PP |  | 857 |  |
| 318 | File, A4 assorted colours | Bantex | PO |  | 400 |  |
| 312 | File, all sizes | Esselte | PP | Cardboard | 583 |  |
| 305 | File, all sizes | BICP | PP | Cardboard (recycled) | 400 |  |
| 306 | File, all sizes | Bantex | PP | Cardboard | 390 |  |
| 307 | File, all sizes | Bantex | PE | Carton | 773 |  |
| 308 | File, all sizes | Bantex | PP | Carton | 74 |  |
| 309 | File, all sizes | Bantex 1415 | PP | Cardboard | 658 |  |
| 310 | File, all sizes | Bantex 1415 | PP | Cardboard | 25 |  |
| 317 | File, all sizes | Roal Plast | PP |  | 856 |  |
| 311 | File, all sizes | Esselte | PS |  | 390 |  |
| 313 | File, all sizes | Esselte | PO | Carton | 390 |  |
| 314 | File, all sizes | Esselte | PE | Carton | 773 |  |
| 315 | File, all sizes | Mols plast | Oekolon | Cardboard | 527 |  |
| 316 | File, all sizes | Neptun plast | PP |  | 133 |  |
| 319 | File, environmental, all sizes | Esselte | PP | Cardboard | 658 |  |
| 1741 | Files - all sizes | Esselte | PO | Cardboard | 647 | None |
| 363 | Fineliners, assorted colours | Papermate | PP |  | 400 |  |
| 364 | Flexi caps | Kjćr-Hansen | PP | Carton | 390 |  |
| 365 | Flip frame | 3M | Polyester | Cardboard | 1 |  |
| 366 | Flip frame | Rank Xerox | PP | Free of PVC | 620 |  |
| 323 | Folder | Mols Plast | PE | PE | 527 |  |
| 322 | Folder |  | PP |  | 857 |  |
| 321 | Folder |  | PP | Paper | 562 |  |
| 324 | Folder A4, 00.9 | All plast | PP |  | 400 |  |
| 325 | Folder A4, 110 | Bantex | PP |  | 400 |  |
| 326 | Folder, assessment | Roal Plast | PP |  | 856 |  |
| 421 | Folder, conference |  | PP |  | 857 |  |
| 420 | Folder, rubber band |  | PP |  | 857 |  |
| 422 | Folder, universal |  | PP |  | 857 |  |
| 424 | Folders | Avery | PP | PE | 440 |  |
| 423 | Folders |  | PP | Paper | 562 |  |
| 327 | Folders A4 | All plast | PP |  | 400 |  |
| 339 | Foot support | NPI | PP | Resy marked | 390 |  |
| 367 | Footrest | NPI | PS | Resy-marked | 390 |  |
| 368 | Footrest | SIS | ABS | Carton | 390 |  |
| 374 | Gift box | Liberty | PS | PE | 587 |  |
| 408 | Glue stick | Tesa | Plastomer | PE | 390 |  |
| 407 | Glue stick | Tesa | Acrylic, colymer | PE | 390 |  |
| 594 | Glue stick | Pro-glue stick | typer.htm | PE | 440 |  |
| 410 | Glue stick, penol | Chr. Olsen | PE |  | 390 |  |
| 409 | Glue stick, Tombow | Tombow | PP | Cardboard | 390 |  |
| 522 | Guide rail | Scan-Djob | PE | Cardboard | 666 |  |
| 376 | Hand card files | SIS | PS | Carton | 390 |  |
| 375 | Hobby knife | Bantex | PP | Carton | 390 |  |
| 482 | Index set | Mols Plast | PE | PE | 527 |  |
| 369 | Index sheets | Bantex | PP | Cardboard (recycled) | 400 |  |
| 379 | Index tabs | 3M/Scotch | Polyester | PS (80 % recycled) | 1 |  |
| 380 | Index tabs | Dansk Kartotek fabrik | PE | PE | 390 |  |
| 480 | Indexes | Neptun plast | PP |  | 133 |  |
| 479 | Indexes | Bantex | PP | Cardboard (recycled) | 400 |  |
| 481 | Indexes, various sizes | Bantex | PP |  | 400 |  |
| 297 | Ink cartridge | Omron | PS | Cardboard | 121 |  |
| 506 | Ink writer, uniball | Chr. Olsen | PP | Carton | 390 |  |
| 342 | Labels all sizes |  | PE |  | 305 |  |
| 341 | Labels all sizes | Raflac | Paper | Carton | 305 | 15677988 |
| 399 | Laminated pockets | Attalus | PE | Polyester | 390 |  |
| 402 | Laminated pockets | Ibico laminated pockets | Adhesive: BNPE, G |  | 0 |  |
| 401 | Laminated pockets | GMP | Polyester | Carton | 179 |  |
| 400 | Laminated pockets | GMP | PE | Carton | 235 |  |
| 398 | Lamination film roller | Attalus | PE | Carton | 390 |  |
| 403 | Laser labels |  | PE |  | 305 |  |
| 320 | Letter balance, Wedo | Werner Dorsch | ABS | Cardboard (recycled) | 390 |  |
| 300 | Letter tray | Orth | PP | Carton | 390 |  |
| 299 | Letter tray | Esselte | PS | Cardboard | 583 |  |
| 298 | Letter tray |  | PS |  | 857 |  |
| 301 | Letter tray | SIS | PS | Carton | 390 |  |
| 302 | Letter tray, Panorama | NPI | PS | Resy-mćrket | 390 |  |
| 303 | Letter tray, special |  | PE, PC, acrylic |  | 857 |  |
| 304 | Letter trays, A4 assorted colours | BICP | PP |  | 400 |  |
| 590 | Lettering pens | Sanford | PP | PP | 440 |  |
| 489 | Loose-leaf ring binder |  | PP |  | 857 |  |
| 490 | Loose-leaf ring binder | Esselte | PO | Carton | 390 |  |
| 491 | Loose-leaf ring binder | Mols Plast | Oekolon | Cardboard | 527 |  |
| 493 | Loose-leaf ring binder A4, 2 rings assorted colours | Bantex | PP |  | 400 |  |
| 492 | Loose-leaf ring binder, A4, 4 rings assorted colours | Bantex | PP |  | 400 |  |
| 566 | Magazine cassettes |  | PP |  | 857 |  |
| 567 | Magazine cassettes |  | PS |  | 857 |  |
| 568 | Magazine files | Roal Plast | PP |  | 856 |  |
| 569 | Magazine files | Roal Plast | EVA |  | 856 |  |
| 570 | Magazine organiser | Esselte | PS | Cardboard | 583 |  |
| 565 | Magazine organiser, Collecta | Esselte | PS | Carton | 390 |  |
| 417 | Magnets | Dahle | ABS | Cardboard | 390 |  |
| 387 | Manuscript holder | Luxo | PS | Carton | 390 |  |
| 419 | Manuscript holder | All models | ABS | Cardboard | 478 |  |
| 389 | Map pins | Meldol | Polystyrol |  | 390 |  |
| 425 | Marker, assorted colours | Papermate | PP |  | 400 |  |
| 426 | Marker, marking | Favorit | PP |  | 857 |  |
| 427 | Marker, uni posca | Chr. Olsen | PP |  | 390 |  |
| 428 | Marking clips | Scan Modul System | PA | Cardboard | 298 |  |
| 429 | Marking component | Planning boards | PPO |  | 526 |  |
| 573 | Offer files | Esselte | PP | Cardboard | 25 |  |
| 572 | Offer files |  | PP |  | 857 |  |
| 574 | Offer files | Esselte | PP | Carton | 390 |  |
| 575 | Offer files | Mols Plast | PE | Cardboard | 527 |  |
| 576 | Offer files | Neptun plast | PP |  | 133 |  |
| 571 | Offer files A4, assorted colours | Bantex | PP |  | 400 |  |
| 430 | Office | Tesa | PP | PP | 390 |  |
| 432 | Overhead film | Rank Xerox | PP | Free of PVC | 620 |  |
| 586 | Overhead films |  | Polyester |  | 1310 |  |
| 587 | Overhead films |  | PE | Cardboard | 121 |  |
| 588 | Overhead films |  | PPO |  | 1310 |  |
| 589 | Overhead films | 3M | PE | PE, carton | 773 |  |
| 433 | Overhead pens | Steadtler | PP | Recycled | 390 |  |
| 508 | Paper cutters | Dahle | ABS | Carton | 390 |  |
| 442 | Pen tray, monkey house | HC | PP | PP | 390 |  |
| 440 | Pencil | Pentel | PP | Cardboard | 390 |  |
| 441 | Pencil | Zebra | PP | Cardboard | 390 |  |
| 296 | Pencil sharpener | Dahle | ABS | Cardboard | 390 |  |
| 1743 | Photo pockets | Esselte | PP | Cardboard | 647 | None |
| 371 | Photo pockets | Bantex | PP | Cardboard | 25 |  |
| 370 | Photo pockets | Bantex | PP | PP, cardboard | 390 |  |
| 372 | Photo pockets | Esselte | PP | Cardboard | 658 |  |
| 444 | Plastic clips |  | PS |  | 857 |  |
| 465 | Plastic cover | Esselte | PE | Cardboard | 583 |  |
| 468 | Plastic cover | Neptun plast | PP |  | 133 |  |
| 467 | Plastic cover | KOFA/Esselte | PP | Cardboard | 658 |  |
| 466 | Plastic cover | Esselte | PP | Cardboard | 25 |  |
| 470 | Plastic cover for A5 book | Dafolo | PP | Carton | 165 |  |
| 469 | Plastic cover with flap | Dafolo | PP | Carton | 165 |  |
| 471 | Plastic cover, coloured | Esselte | PP | Cardboard | 658 |  |
| 445 | Plastic fronts for plastic backs | ECK | PP, PET | Carton | 390 |  |
| 446 | Plastic fronts for spiral binders | ECK | PP, PET | Carton | 235 |  |
| 443 | Plastic index and dividers |  | PP |  | 857 |  |
| 472 | Plastic indexes | CC & CO | PE | Carton | 773 |  |
| 475 | Plastic indexes | KOFA/Esselte | PP | Cardboard | 658 |  |
| 473 | Plastic indexes | Esselte | PE | Carton | 773 |  |
| 474 | Plastic indexes | Esselte | PP | Cardboard | 25 |  |
| 451 | Plastic pockets | Esselte | PE | PE | 658 |  |
| 456 | Plastic pockets | H.C. Paper | PP | Carton | 74 |  |
| 459 | Plastic pockets | Neptun plast | PP |  | 133 |  |
| 457 | Plastic pockets | KOFA/Esselte | PP | Cardboard | 658 |  |
| 455 | Plastic pockets | Esselte | PP | Cardboard | 25 |  |
| 454 | Plastic pockets | Esselte | PE | Cardboard | 583 |  |
| 453 | Plastic pockets | Esselte | PE | Carton | 773 |  |
| 452 | Plastic pockets | Esselte | PP | Carton | 390 |  |
| 450 | Plastic pockets | BICP/All plast | PP | Cardboard (recycled) | 400 |  |
| 448 | Plastic pockets |  | PP |  | 857 |  |
| 447 | Plastic pockets |  | PP | Cardboard | 440 |  |
| 458 | Plastic pockets | Mols Plast | PE | PE | 527 |  |
| 449 | Plastic pockets | A Behrend | PP | Carton | 390 |  |
| 1744 | Plastic pockets - all sizes | Esselte | PP | Cardboard | 647 | None |
| 463 | Plastic pockets, (A3) | Bantex | PP | Cardboard | 390 |  |
| 461 | Plastic pockets, A4 | Due | PP |  | 400 |  |
| 460 | Plastic pockets, A4 | All plast | PP |  | 400 |  |
| 464 | Plastic pockets, A4 ultra thin | Bantex | PP |  | 400 |  |
| 462 | Plastic pockets, A5 | Due | PP |  | 400 |  |
| 412 | Pocket protector | Ravnex | PP | Cardboard | 621 |  |
| 578 | Pools stamp | Hamilton | PA with graphite |  | 742 |  |
| 595 | Post it block | 3M | typer.htm | PE | 773 |  |
| 476 | Printer ribbon | Typeline | PS | Cardboard | 121 |  |
| 477 | Promarker, universal | Chr. Olsen | PP | Carton | 390 |  |
| 360 | Ribbon | Sigurd Rasmussen | ABS | Cardboard | 647 |  |
| 359 | Ribbon |  | PE |  | 857 |  |
| 361 | Ribbon (cassettes) |  | PS |  | 857 |  |
| 485 | Ring binder | Neptun plast | PP |  | 133 |  |
| 1677 | Ring binder catalogue | All Plast | PP | PP | 20 | None |
| 1784 | Ring binder in recycled cardboard with stamp as required |  | typer.htm | Cardboard | 621 |  |
| 1680 | Ring binder w/pockets | All Plast | PP | Cardboard | 20 | None |
| 591 | Ring binder with window | Roal Plast | EVA |  | 856 |  |
| 592 | Ring binder with window | Roal Plast | PP |  | 856 |  |
| 1684 | Ring binder with window | All Plast/Bicp | PP | Cardboard | 20 | None |
| 488 | Ring binder, 15 mm | Bantex | PP | Cardboard | 390 |  |
| 486 | Ring binder, all formats with pockets | Ravnex | PP | Cardboard | 621 |  |
| 1678 | Ring binder, cardboard | All Plast | Cardboard recycled | Cardboard | 20 |  |
| 487 | Ring binder, catalogue | Neptun plast | PP |  | 133 |  |
| 1785 | Ring binder, environmental |  | typer.htm | Cardboard | 621 |  |
| 1679 | Ring binder, lamination | All Plast | Cardboard-Paper | Cardboard | 20 | None |
| 494 | Roller pen, assorted colours | Pentel | PP |  | 400 |  |
| 411 | Rulers |  | PS |  | 857 |  |
| 497 | Scissor handles |  | ABS |  | 857 |  |
| 495 | Scissors with blue grip, penol | Chr. Olsen | ABS | Carton | 390 |  |
| 496 | Scissors with white grip, penol | Chr. Olsen | ABS | Carton | 390 |  |
| 500 | Self-adhesive labels | Raflatac | PE |  | 229 |  |
| 499 | Self-adhesive labels | Prento | PE | Paper | 602 |  |
| 498 | Self-adhesive labels |  | PE, PP | PE, cardboard | 432 |  |
| 418 | Shredding machines | Dahle | ABS |  | 390 |  |
| 502 | Sign ribbon | RIAS | PS | Cardboard | 0 |  |
| 501 | Signal pockets | Esselte | PP | Carton | 390 |  |
| 509 | Slim files | Neptun plast | PP |  | 133 |  |
| 512 | Special indexes | Roal Plast | PP |  | 856 |  |
| 1681 | Special pockets | All Plast | PP | Cardboard | 20 | None |
| 510 | Special pockets | Roal Plast | PP |  | 856 |  |
| 511 | Special pockets | Roal Plast | EVA |  | 856 |  |
| 1683 | Special register | All Plast | PP | Cardboard | 20 | None |
| 1682 | Special register | All Plast | PP | Cardboard | 20 | None |
| 513 | Special ring binder | Roal Plast | PP |  | 856 |  |
| 514 | Special ring binder | Roal Plast | EVA |  | 856 |  |
| 415 | Speed writer, penol | Chr. Olsen | PE |  | 390 |  |
| 414 | Speed writer, penol | Chr. Olsen | PS |  | 390 |  |
| 413 | Speed writer, penol | Chr. Olsen | PP |  | 390 |  |
| 416 | Speed writer, zebra | Zebra | PP | Cardboard | 390 |  |
| 515 | Stackable cassettes | SIS | PS | Carton | 390 |  |
| 520 | Stamps | Trodat | ABS | Carton | 390 |  |
| 517 | Standard indexes | Roal Plast | PP |  | 856 |  |
| 516 | Standard pockets | Roal Plast | PP |  | 856 |  |
| 518 | Standard ring binder | Roal Plast | EVA |  | 856 |  |
| 519 | Standard ring binder | Roal Plast | PP |  | 856 |  |
| 290 | Support mats | Ergomat | PUR | Paper | 259 |  |
| 349 | Tab for portfolio | Velox | PE | PE | 666 |  |
| 347 | Tab for suspension file | Velox | PE | PE | 666 |  |
| 348 | Tab for suspension file | Velox | PE | PE | 666 |  |
| 358 | Tabs | Esselte | PE | Carton | 773 |  |
| 357 | Tabs | CC & CO | PE | Carton | 773 |  |
| 523 | Tape |  | PP |  | 857 |  |
| 1745 | Tape | Tesa | PP | Cardboard | 647 | None |
| 524 | Tape |  | Acetate |  | 857 |  |
| 525 | Tape 3701 | 3M/Scotch | PP | Cardboard, carton | 1 |  |
| 526 | Tape 371 | 3M/Scotch | PP | Cardboard | 1 |  |
| 527 | Tape 4024 | Tesa | PP | PP | 390 |  |
| 528 | Tape 500 | 3M/Scotch | PP | PE, cardboard | 1 |  |
| 529 | Tape 550 | 3M/Scotch | PP | Cardboard | 1 |  |
| 530 | Tape 55219 | Tesa | PP | PP | 390 |  |
| 531 | Tape 845 | 3M/Scotch | Polyester | Cardboard | 1 |  |
| 532 | Tape 855 | 3M | PA | Cardboard | 1 |  |
| 533 | Tape cartridges 3480-3490E | 3M | PE | Cardboard | 1 |  |
| 548 | Tape holder | Tesa | PS | Cardboard | 390 |  |
| 549 | Tape pockets 822 | 3M | PP | Cardboard | 1 |  |
| 550 | Tape pockets 8241 | 3M | PP | Cardboard | 1 |  |
| 551 | Tape pockets 8242 | 3M | PP | Cardboard | 1 |  |
| 552 | Tape pockets 830 | 3M | PP | Cardboard | 1 |  |
| 553 | Tape pockets 832 | 3M | PP | Cardboard | 1 |  |
| 547 | Tape, office | Crown | PP | Cardboard (recycled) | 400 |  |
| 546 | Tape, transparent 15 x 33 | BICP | PP |  | 400 |  |
| 534 | Tape, wrapping 3131 | 3M/Scotchpro | PP | Cardboard | 1 |  |
| 535 | Tape, wrapping 351 | 3M/Scotchpro | Polyester | Cardboard | 1 |  |
| 545 | Tape, wrapping 352 | 3M/Scotchpro | Polyester | Cardboard | 1 |  |
| 536 | Tape, wrapping 3553 | 3M/Scotchpro Temp. fast | Polyester | Cardboard | 1 |  |
| 537 | Tape, wrapping 3701 | 3M/Scotchpro | PP | Cardboard | 1 |  |
| 538 | Tape, wrapping 3703 | 3M/Scotchpro | PP | Cardboard | 1 |  |
| 539 | Tape, wrapping 3705 | 3M/Scotchpro | PP | Cardboard | 1 |  |
| 540 | Tape, wrapping 3707 | 3M/Scotchpro | PP | Cardboard | 1 |  |
| 541 | Tape, wrapping 371 | 3M/Scotchpro | PP | Cardboard | 1 |  |
| 542 | Tape, wrapping 3723 | 3M/Scotchpro | PP | Cardboard | 1 |  |
| 543 | Tape, wrapping 396 | 3M | Polyester | Cardboard | 1 |  |
| 544 | Tape, wrapping brown, assorted sizes | Tesa | PP |  | 400 |  |
| 556 | Teflon tape 5451 | 3M | PTFE, | Cardboard | 1 |  |
| 557 | Teflon tape 5453 | 3M | PTFE, | Cardboard | 1 |  |
| 558 | Teflon tape 5490 | 3M | PTFE, | Cardboard | 1 |  |
| 559 | Teflon tape 5491 | 3M | PTFE, | Cardboard | 1 |  |
| 564 | Telefax | B-340 | PS, PC, ABS | Cardboard | 121 |  |
| 560 | Text marker | Steadtler | PP | Recycled | 390 |  |
| 561 | Text plates for stamps | Gordon | Photopolymer |  | 682 |  |
| 562 | Text plates for stamps | Schntt | APR |  | 682 |  |
| 563 | Text tape |  | PET |  | 857 |  |
| 577 | Tippex | Tipp-ex | PP | Cardboard | 390 |  |
| 581 | Toner cartridge | Canon | PE | Cardboard (recycled) | 603 |  |
| 582 | Toner cartridge | HP | PE | Cardboard (recycled) | 603 |  |
| 583 | Toner cartridge | IBM | PE | Cardboard (recycled) | 603 |  |
| 584 | Toner cartridge | Partly own manufacture | PE | Cardboard (recycled) | 2 |  |
| 579 | Toner cartridge |  | PE |  | 460 |  |
| 580 | Toner cartridge |  | PE |  | 460 |  |
| 585 | Transparent foil | 3M | Polyester | Cardboard | 1 |  |
| 436 | Wastepaper basket |  | PP |  | 459 |  |
| 437 | Wastepaper basket | Orth | PP |  | 114 |  |
| 438 | Wastepaper basket | Orth | PP | PET | 390 |  |
| 439 | Wastepaper basket | SIS | PS | Carton | 390 |  |
| 435 | Wastepaper basket |  | PP | Cardboard | 1237 |  |
| 1687 | Wastepaper basket, environmental **** | Helit gmbh | PE | PE | 49 |  |
| 505 | White chalk, penol | Chr. Olsen | PS | PVC | 390 |  |
| 593 | Whiteboard pens, assorted colours | Papermate | PP |  | 400 |  |
| 377 | Wrist support | Jargus | PS | PE | 1326 |  |
| 504 | Writing film in rolls | Rank Xerox | Polyester | Free of PVC | 620 |  |
| 507 | Writing utensils | Sanford | PP | Paper | 562 |  |
| 503 | Writing/conference materials |  | PUR |  | 390 |  |

Produkty pre domácnosť:

| Chyba! Záložka není definována.Id | Product | Trade mark | Plastic type | Packaging | Supplier No. | CE |
| --- | --- | --- | --- | --- | --- | --- |
| 115 | Bottle cooler | Maria | SAN, PP | PE | 114 |  |
| 185 | Bowl, Benedikte | Rosti | MF |  | 114 |  |
| 186 | Bowls | Uson Plast | PP |  | 737 |  |
| 192 | Butter dish |  | SB |  | 0 |  |
| 193 | Butter dish, Splendi | Orth | SAN |  | 114 |  |
| 136 | Canteens | Rubbermaid | PC |  | 114 |  |
| 138 | Canteens | UTZ | PP |  | 114 |  |
| 137 | Canteens | Rubbermaid | PSU |  | 114 |  |
| 188 | Chopping board | Kold | PP |  | 114 |  |
| 189 | Chopping board with knobs |  | PP |  | 114 |  |
| 131 | Coffee machine | EVA | PP, ABS | Cardboard | 0 |  |
| 132 | Coffee tin, Splendi | Orth | SAN |  | 114 |  |
| 110 | Colander | Amager | PE |  | 114 |  |
| 146 | Cooler box | Curver | PP |  | 114 |  |
| 147 | Cooler box, Mette | Jysk Plast Industri | PP |  | 114 |  |
| 94 | Cup | Automat | PS |  | 459 |  |
| 98 | Cup | Unipack | PP | Carton | 1092 |  |
| 96 | Cup | Bella | PS |  | 265 | None |
| 95 | Cup | Bella | PS |  | 459 |  |
| 164 | Cup | Rosti | MF |  | 114 |  |
| 99 | Cup & tray, natural |  | PS | PE, carton | 727 |  |
| 103 | Cup holder | MH Line | PS | PE | 390 |  |
| 141 | Cup, disposable |  | PS |  | 200 |  |
| 101 | Cup, natural 250 ml | Sćkko | PS |  | 680 |  |
| 102 | Cup, natural 390 ml | Sćkko | PS |  | 680 |  |
| 100 | Cup, white | with decorative print | PS | LDPE, corrugated cardboard | 81 |  |
| 91 | Cutlery box | Amager | PS |  | 114 |  |
| 92 | Cutlery box, grey | Rubbermaid | PP |  | 114 |  |
| 90 | Cutlery tub, round | CWK | HDPE |  | 114 |  |
| 89 | Cutlery tub, square | CWK | PPCO |  | 114 |  |
| 88 | Cutlery, disposable | Lito | PS |  | 265 | None |
| 87 | Cutlery, disposable |  | PS | PE, carton | 727 |  |
| 86 | Cutlery, disposable |  | PS |  | 200 |  |
| 191 | Cutting board | Hyegenia | PE |  | 114 |  |
| 190 | Cutting board | Euroboard | PE |  | 114 |  |
| 105 | Decilitre measure |  | SB |  | 0 |  |
| 112 | Dish scraper | Rubbermaid | PA |  | 114 |  |
| 106 | Drinking cup | Bulsř | PP | PE | 127 |  |
| 107 | Drinking cup | Uson Plast | PP |  | 737 |  |
| 108 | Drinking cup without lid |  | PA |  | 114 |  |
| 109 | Drinking glass & cups |  | PS | PE, carton | 727 |  |
| 221 | Egg cup | Rosti | MF |  | 114 |  |
| 114 | Filter funnel | Melitta | PP |  | 114 |  |
| 156 | Flour and sugar container | Rubbermaid | PP |  | 114 |  |
| 155 | Flour and waste container | Gustavsberg | PP |  | 114 |  |
| 157 | Flour shaker | Orth | PE |  | 114 |  |
| 116 | Fork | Facet, rigid plast | PS | PE, cardboard | 680 |  |
| 117 | Fork | MH Line | PS | Carton | 390 |  |
| 219 | Funnel | Amager | PE |  | 114 |  |
| 218 | Funnel |  | PP | Cardboard | 1237 |  |
| 128 | Garlic press | Rosti | PA |  | 114 |  |
| 118 | Glass | Bella | PS |  | 265 | None |
| 119 | Glass and cups | Injection moulded and thermoplastic | PS | LDPE, corrugated cardboard | 81 |  |
| 120 | Glass, 24 cl | Facet, rigid plast | PS | PE, cardboard | 680 |  |
| 126 | Glass, beer | MH Line | PS | Carton | 390 |  |
| 123 | Glass, disposable |  | PS |  | 200 |  |
| 124 | Glass, snaps | MH Line | PS | Carton | 390 |  |
| 125 | Glass, soft drinks | MH Line | PS | Carton | 390 |  |
| 130 | Ice tray | Amager | PE | PE | 114 |  |
| 133 | Jug with cooling unit | Amager | PS |  | 114 |  |
| 134 | Jug with lid | Amager | PE |  | 114 |  |
| 145 | Kitchen bowl, Ole Palsby | Rosti | PP |  | 114 |  |
| 140 | Knife, disposable | MH Line | PS | Carton | 390 |  |
| 139 | Knife, disposable | Facet, Fast Plast | PS | PE, cardboard | 680 |  |
| 222 | Ladle | Rosti | MF |  | 114 |  |
| 127 | Ladle | Rosti | MF |  | 114 |  |
| 104 | Lemon and fruit press | Amager | PE |  | 114 |  |
| 150 | Lid for drinking cup |  | PA |  | 114 |  |
| 152 | Lid for thermoplastic bowl | OB & Co | Noryl PPO 703 |  | 125 |  |
| 151 | Lid with knob for water glass |  | PA |  | 114 |  |
| 153 | Lid, plates and cutlery | Duni plastprodukter | PS | PE, corrugated cardboard | 81 |  |
| 154 | Margrethe bowl | Rosti | MF |  | 114 |  |
| 160 | Measuring cup | Rosti | SAN |  | 114 |  |
| 161 | Measuring jug | Rubbermaid | PC |  | 114 |  |
| 162 | Measuring jug 1 l |  | SB |  | 0 |  |
| 163 | Measuring spoon, coffee |  | PP |  | 114 |  |
| 158 | Menu card holder | Krojo Line | Acrylic |  | 114 |  |
| 159 | Mixing jar | Rosti | MF |  | 114 |  |
| 142 | Mug | Rosti | MF |  | 114 |  |
| 144 | Mug and lid | Uson | PP |  | 185 |  |
| 143 | Mug with 2 handles | Hammarplast | Carbon plastic |  | 114 |  |
| 173 | Mustard bottle, transparent |  | PE |  | 114 |  |
| 220 | Nipples for pastry bags | Thermo | PE |  | 114 |  |
| 113 | Ovenproof dish | Panco | PE | PE | 114 |  |
| 111 | Packaging beakers |  | PE |  | 639 |  |
| 199 | Pastry bags, disposable |  | PE |  | 114 |  |
| 165 | Pepper & salt mills | Cole & Mason | Acrylic |  | 114 |  |
| 166 | Pepper & salt mills | Rainbow | Acrylic |  | 114 |  |
| 167 | Pepper mill, electric | Rainbow | ABS |  | 114 |  |
| 200 | Plate | Extra & Design | PP | PE, carton | 81 |  |
| 201 | Plate | Popular & Ekonomi | PE | PE, carton | 81 |  |
| 202 | Plate | Rosti | MF |  | 114 |  |
| 203 | Plate edge, white |  | MF |  | 114 |  |
| 204 | Plate lid | CWK | PP |  | 114 |  |
| 205 | Plates |  | PS | PE, carton | 727 |  |
| 148 | Refrigerator box | Askimo | PS |  | 114 |  |
| 168 | Salad bowl | Cambro | PC |  | 114 |  |
| 169 | Salad bowl | Guzzini | Acrylic |  | 114 |  |
| 170 | Salad servers | Rosti | MF |  | 114 |  |
| 171 | Salad servers, transparent |  | Acrylic |  | 114 |  |
| 172 | Sandwich trays |  | PE |  | 639 |  |
| 184 | Scoop | Rubbermaid | PC |  | 114 |  |
| 183 | Scoop |  | PP |  | 114 |  |
| 177 | Service, disposable |  | PS |  | 531 |  |
| 178 | Serviette holder | Bino Quick | PS |  | 114 |  |
| 179 | Serviette holder | Guzzini | ABS, |  | 114 |  |
| 174 | Serving tray | Anna | SAN |  | 114 |  |
| 175 | Serving tray | Farusa | PP |  | 114 |  |
| 176 | Serving tray | Rosti | PP |  | 114 |  |
| 187 | Set of bowls 1-2-3 l | Rosti | PP |  | 114 |  |
| 129 | Shopping basket |  | PP |  | 114 |  |
| 196 | Snap-on lid and stoppers | BN | PP | PP | 547 |  |
| 195 | Snap-on lid for aluminium trays |  | PE | Cardboard | 22 |  |
| 197 | Spaghetti spoon | Rosti | MF |  | 114 |  |
| 198 | Spaghetti tongs | Guzzini | ABS, |  | 114 |  |
| 182 | Spoon, disposable | Thermo | PE |  | 114 |  |
| 180 | Spoon, disposable | Various | PP, PE |  | 716 |  |
| 181 | Spoon, disposable | MH Line | PS | Carton | 390 |  |
| 93 | Table bowl, square | Thermo | MF |  | 114 |  |
| 217 | Teaspoon, disposable | Sćkko | PS |  | 680 |  |
| 216 | Teaspoon, disposable | MH Line | PS | Carton | 390 |  |
| 215 | Thermoplastic products |  | EPS |  | 531 |  |
| 206 | Thermos flask | Sunflower | PP |  | 114 |  |
| 194 | Trencher | Rosti | MF |  | 114 |  |
| 214 | Vacuum jug | Tiger | PP |  | 114 |  |
| 212 | Vacuum jug | Rotpunkt | PP | PE | 114 |  |
| 211 | Vacuum jug | Picasso | PP |  | 114 |  |
| 210 | Vacuum jug | Koffi | PP |  | 114 |  |
| 209 | Vacuum jug | Helios | PP |  | 114 |  |
| 208 | Vacuum jug | Art | ABS, PP |  | 114 |  |
| 207 | Vacuum jug | Alfi | PP |  | 114 |  |
| 213 | Vacuum jug | Stelton | ABS, PDM |  | 114 |  |
| 84 | Vending machine cups |  | PS |  | 639 |  |
| 85 | Vending machine cups | MH Line | PS | PE | 390 |  |

Obaly produktov pre domácnosť:

| Chyba! Záložka není definována.Id | Product | Trade mark | Plastic type | Packaging | Supplier No. | CE |
| --- | --- | --- | --- | --- | --- | --- |
| 258 | Aunt Laura |  | typer.htm | PPCO | 371 |  |
| 262 | Bag | Danisco Flex | typer.htm | OPA, PE | 1098 |  |
| 264 | Bag for dried pasta | Svansř Food | typer.htm | PE | 1155 |  |
| 263 | Bag for roasted onions | Dacapo | typer.htm | PETP | 1155 |  |
| 265 | Bags | SFK 246 | typer.htm | PE | 1156 |  |
| 266 | Bags for frozen fish | Rahbekfisk | typer.htm | LDPE | 1155 |  |
| 268 | Bags for sausage specialities | WK catering | typer.htm | LDPE | 1155 |  |
| 267 | Bags for vegetables | Flensted A/S | typer.htm | PE | 1155 |  |
| 269 | Bags/sacks | SFK 161-5 | typer.htm | PE | 1156 |  |
| 224 | Base film for meat | Riloten/Danisco | typer.htm | PA | 1156 |  |
| 239 | Bottle | FUN-lćskedrik | typer.htm | PE | 569 |  |
| 241 | Bottle, 1 l | Mustard, ketchup, various dressings | typer.htm | PP | 817 |  |
| 240 | Bottle, 450 ml | Mustard, ketchup, remoulade, dressing | typer.htm | HDPE | 817 |  |
| 242 | Bottle, bucket /lid for dressing | Crown Food | typer.htm | PP | 1155 |  |
| 243 | Bottle/lid for remoulade | Graasten salater | typer.htm | MDPE, LDPE | 1155 |  |
| 244 | Bottles/lids for mustard, ketchup, etc. | Dacapo | typer.htm | HDPE, LDPE | 1155 |  |
| 271 | Bucket | Superfos Emballage | typer.htm | PP | 860 | None |
| 272 | Bucket for deep-frying fat | Dragsbćk | typer.htm | PPE | 1155 |  |
| 273 | Bucket for deep-frying oil | Dragsbćk | typer.htm | PPE | 1155 |  |
| 275 | Bucket for jam | Superfoss Emballage | typer.htm | PP | 437 |  |
| 274 | Bucket for marinated pasta | Kai Due | typer.htm | PP | 1155 |  |
| 276 | Bucket, 900 g | Marmelade | typer.htm | PP | 817 |  |
| 281 | Bucket/lid for boiled eggs | Danćg | typer.htm | PP, | 1155 |  |
| 278 | Bucket/lid for bTarnaise sauce | Mayo A/S | typer.htm | PE | 1155 |  |
| 279 | Bucket/lid for feta cheese | Nordex | typer.htm | PP | 1155 |  |
| 282 | Bucket/lid for marinated salads | Flensted A/S | typer.htm | PE | 1155 |  |
| 285 | Bucket/lid for mustard, ketchup, etc. | Dacapo | typer.htm | PP | 1155 |  |
| 283 | Bucket/lid for pickled herrings | Skippersild | typer.htm | PP | 1155 |  |
| 280 | Bucket/lid for potato salad | Flensted A/S | typer.htm | PE | 1155 |  |
| 284 | Bucket/lid for remoulade | Graasten salater | typer.htm | PP | 1155 |  |
| 277 | Bucket/tub for margarine | Dragsbćk | typer.htm | PPE | 1155 |  |
| 230 | Combi cup | MH Line | typer.htm | PS | 390 |  |
| 226 | Container for 20 g jam | Alcan Rorschach AG | typer.htm | PE | 437 |  |
| 251 | Covering film for meat | Riloten/Danisco | typer.htm | PA | 1156 |  |
| 225 | Cup | Thy plast | typer.htm | PP | 1098 |  |
| 227 | Cup, 100 g | Ristede lřg | typer.htm | PPCO | 817 |  |
| 248 | Deep-fried products | Flensted A/S | typer.htm | PE | 1155 |  |
| 1730 | Ecological beans, sugar, seeds, flour, nuts and the like |  | typer.htm | PE/OPP | 371 |  |
| 1729 | Ecological musli |  | typer.htm | PE | 371 |  |
| 288 | Ecological vegetables |  | typer.htm | OPP, PE | 371 |  |
| 247 | Foil | Wolf Walsrode | typer.htm | PE | 1098 |  |
| 245 | Foil | Scandiflex | typer.htm | MET.PETPX, PE | 1098 |  |
| 246 | Foil | Scandiflex | typer.htm | PETPX, PE | 1098 |  |
| 261 | Individual cup | Repack | typer.htm | PP | 656 |  |
| 228 | Jam tubs | Sandlers | typer.htm | PS | 1198 |  |
| 235 | Jar for jam | Rosti A/S | typer.htm | HDPE | 437 |  |
| 236 | Jar for salad oil | Dragsbćk | typer.htm | PPE | 1155 |  |
| 237 | Jar, 5 l | Rosti | typer.htm | HDPE | 860 | None |
| 250 | Lid for jam | Sandlers | typer.htm | PE | 1198 |  |
| 253 | Maize flour, cane sugar, dried fruit |  | typer.htm | OPP, PE | 371 |  |
| 255 | Margarine, lid |  | typer.htm | Chalk/plaster /PP | 371 |  |
| 254 | Margarine, tubs |  | typer.htm | Chalk/plaster/PP | 371 |  |
| 249 | Millet, sunflower seeds, nuts |  | typer.htm | OPP, PE | 371 |  |
| 257 | Mineral salt |  | typer.htm | PET | 371 |  |
| 238 | Packaging | Beef and pork | typer.htm | Laminate of PE and PA | 1013 |  |
| 260 | Plastic bags for vegetables |  | typer.htm | PE | 1197 |  |
| 270 | Propolis lozenges |  | typer.htm | SAN | 371 |  |
| 232 | Remoulade/various dressings |  | typer.htm | PP | 817 |  |
| 252 | Silver foil | Dan-Wrap | typer.htm | PE | 727 |  |
| 234 | Soya beans, musli |  | typer.htm | PE | 371 |  |
| 256 | Steaks/croquettes/falafels |  | typer.htm | OPP/PE | 371 |  |
| 223 | Trays for fresh pasta | Tholstrup Cheese | typer.htm | PP | 1155 |  |
| 229 | Tubs/lids for potato salad | Flensted A/S | typer.htm | PP, PE | 1155 |  |
| 286 | Vacuum bag | Danisco | typer.htm | PETPX, PE | 1098 |  |
| 287 | Vacuum-packed bags | Flensted A/S | typer.htm | PP | 1155 |  |
| 233 | Various bag products |  | typer.htm |  | 0 |  |
| 231 | Various buckets | Mustard/ketchup/mayonnaise/ | typer.htm |  | 0 |  |

Obaly čistiacich prostriedkov:

| Chyba! Záložka není definována.Id | Product | Trade mark | Plastic type | Packaging | Supplier No. | CE |
| --- | --- | --- | --- | --- | --- | --- |
| 1740 | Bottle 250 ml | Terplet | PE |  | 560 | None |
| 1739 | Bottle 500 ml | Holmia | PE |  | 560 | None |
| 1735 | Bottle 500 ml | Jimaco | PE |  | 560 | None |
| 1737 | Bottle 700 ml | Holmia | PE |  | 560 | None |
| 1734 | Bottle 700 ml | Terplet | PE |  | 560 | None |
| 13 | Bottle, 0.5 l | Holmia | typer.htm | PE | 708 |  |
| 14 | Bottle, 0.5 l | Terplet emballage | typer.htm | PE | 46 | None |
| 17 | Bottle, 1 l | Holmia | typer.htm | PE | 560 |  |
| 16 | Bottle, 1 l | Holmia | typer.htm | PE | 708 |  |
| 15 | Bottle, 750 ml | Terplet emballage | typer.htm | PE | 46 | None |
| 1738 | Cap 16 l | Rosti | PP |  | 560 | None |
| 19 | Cap for 1 l | Mathisen Plast | typer.htm | PE | 0 |  |
| 18 | Cap for 1 l | Eraco | typer.htm | PP | 560 |  |
| 22 | Cap for 10 l | H. Mathisen | typer.htm | PP | 560 |  |
| 21 | Cap for 5 l | H. Mathisen | typer.htm | PP | 560 |  |
| 20 | Cap for 5 l | Mathisen Plast | typer.htm | PE | 0 |  |
| 1733 | Disp-pac 11 | Femett | PE |  | 560 | None |
| 1736 | Jar 16 l | Rosti | HDPE |  | 560 | None |
| 1 | Jar, 1 l | P-industri | typer.htm | PE | 0 |  |
| 9 | Jar, 10 l | Rosti | typer.htm | PE | 46 | None |
| 8 | Jar, 10 l | Rosti | typer.htm | HDPE | 560 |  |
| 10 | Jar, 16 l | Rosti | typer.htm | PE | 708 |  |
| 2 | Jar, 2.5 l | Rosti | typer.htm | PE | 708 |  |
| 3 | Jar, 2.5 l | Rosti | typer.htm | PE | 46 | None |
| 11 | Jar, 25 l | Rosti | typer.htm | PE | 46 | None |
| 7 | Jar, 5 l | Rosti | typer.htm | PE | 708 |  |
| 6 | Jar, 5 l | Rosti | typer.htm | PE | 0 |  |
| 5 | Jar, 5 l | P-industri | typer.htm | PE | 0 |  |
| 4 | Jar, 5 l | P-industri | typer.htm | PE | 560 |  |
| 1746 | Jar, 5l | Rosti | PE |  | 46 | None |
| 12 | Jars for cleaning materials | Lever-OtarFs | typer.htm | PE | 459 |  |

Obaly všeobecne :

| Id | Product | Trade mark | Plastic type | Packaging | Supplier No. | CE |
| --- | --- | --- | --- | --- | --- | --- |
| 1386 | Accumulator collection boxes | Perstorp | PE |  | 94 |  |
| 1656 | Acid container | A/S Metas | PE | CE | 1300 |  |
| 1520 | Airtight bag | 11056 | PE |  | 167 |  |
| 1387 | All packaging |  | PE |  | 671 |  |
| 1603 | Bags | Ulfoss plastic | PE |  | 1337 |  |
| 1602 | Bags | Fritz Schur Plast | PE |  | 1037 |  |
| 1600 | Bags |  | PE |  | 692 |  |
| 1601 | Bags | Dansk Klćberulle Industri | PE |  | 187 |  |
| 1761 | Bags - gift film |  | PP |  | 542 |  |
| 1609 | Bags for shredding | ECK | PE |  | 235 |  |
| 1608 | Bags for shredding machines | EBA | PE |  | 327 |  |
| 1606 | Bags with plastic handle | Handi-bag | PE |  | 0 |  |
| 1607 | Bags with print | Dansk Klćberulle Industri | PE |  | 187 |  |
| 1604 | Bags with zip | Minigrip | PE |  | 0 |  |
| 1605 | Bags with zip | Polytight | PE |  | 0 |  |
| 1610 | Bags, normal |  | PE |  | 0 |  |
| 1389 | Battery box | Perstorp | PE |  | 94 |  |
| 1392 | Bigbox |  | HDPE |  | 189 |  |
| 1640 | Bin bags | Extrufix | PE |  | 1345 |  |
| 1641 | Bin bags | HC | HDPE |  | 390 |  |
| 1397 | Binding/pallet stabilisation tape | 3M | PP |  | 1 |  |
| 1629 | Black sack |  | PE |  | 639 |  |
| 1394 | Blister foil |  | PE |  | 391 |  |
| 1395 | Blister foil | Fritz Schur Plast | PE |  | 1037 |  |
| 1393 | Blister foil |  | PE |  | 692 |  |
| 1456 | Bottle | Pussycat | PC |  | 1251 |  |
| 1450 | Bottle |  | PE |  | 0 |  |
| 1451 | Bottle |  | PE |  | 185 |  |
| 1452 | Bottle | Holmia | PE |  | 200 |  |
| 1459 | Bottle | Rosti | PE |  | 204 |  |
| 1460 | Bottle | Terplet | PE |  | 213 |  |
| 1453 | Bottle | Holmia | PE, PP, PET |  | 349 |  |
| 1455 | Bottle | P-industri | PE |  | 200 |  |
| 1457 | Bottle | Rosti | PET |  | 652 |  |
| 1458 | Bottle | Rosti | HDPE |  | 652 |  |
| 1454 | Bottle | Nalge | PETG |  | 499 |  |
| 1461 | Bottle (30 ml-4 l) | Nalge/Kautex/Kartell | PE, PP, PPCO, PTFE, TP |  | 716 |  |
| 1462 | Bottle 200 ml, oval |  | PE |  | 306 |  |
| 1463 | Bottle 250 ml | OTV - Vejen | PE |  | 470 |  |
| 1464 | Bottle 500 ml | OTV - Vejen | PE |  | 470 |  |
| 1468 | Bottle containers |  | PE |  | 1016 |  |
| 1466 | Bottle with locking ring (+l) | Danisco Flamingo | EPS |  | 183 |  |
| 1465 | Bottle with locking ring (1l) | Danisco Flamingo | EPS |  | 183 |  |
| 1467 | Bottle, 1 l | Lupolen | PE, |  | 643 |  |
| 1504 | Box vans |  | ABS |  | 189 |  |
| 1503 | Boxes | Dansk Styropack a/s | EPS |  | 717 |  |
| 1634 | Bucket | Superfos Emb. | PE |  | 336 |  |
| 1633 | Bucket | Jani Jac | PP |  | 200 |  |
| 1632 | Bucket | DIT | PP |  | 459 |  |
| 1631 | Bucket |  | PE, PP |  | 716 |  |
| 1630 | Bucket |  | PP |  | 1237 |  |
| 1635 | Bucket 5 l |  | PP |  | 0 |  |
| 1636 | Bucket 5l with handle |  | PP |  | 0 |  |
| 1639 | Bucket lid | Superfos Emb. | PE |  | 336 |  |
| 1637 | Buckets/tubs 115 ml - 33 l |  | PP |  | 306 |  |
| 1638 | Buckets/tubs, 25 ml - 11.5 l |  | PP |  | 306 |  |
| 1399 | Building plastic | Extrufix | PE |  | 1345 |  |
| 1493 | Canal sacks |  | PE |  | 727 |  |
| 1494 | Cap | Eraco | PP |  | 200 |  |
| 1495 | Cap | Eraco A/S | PP |  | 213 |  |
| 1496 | Cap 32-280 | Eraco A/S | PP |  | 470 |  |
| 1497 | Cap 4 kg | Incoplas | PE |  | 336 |  |
| 1498 | Cap for jar | Rosti | PE |  | 336 |  |
| 1490 | Capped vial | Danisco Flamingo | EPS |  | 183 |  |
| 1499 | Caps | Erato | HDPE |  | 648 |  |
| 1500 | Caps | Rosti | HDPE |  | 648 |  |
| 1404 | Carrier bag | Extrufix | PE |  | 1345 |  |
| 1401 | Carrier bag |  | PE |  | 0 |  |
| 1402 | Carrier bag |  | PE |  | 692 |  |
| 1405 | Carrier bag | HDK | PE |  | 320 |  |
| 1403 | Carrier bag | C.C Kolding | PE |  | 0 |  |
| 1505 | Chemical jars | Agfa | PE |  | 13 | None |
| 1506 | Clear plastic foil |  | PE |  | 391 |  |
| 1525 | Cling film | Dan-Wrap | Resin |  | 114 |  |
| 1524 | Cling film |  | PE |  | 727 |  |
| 1409 | Combi buckets |  | PE |  | 200 |  |
| 1408 | Combi tubs | MH Line | PS |  | 390 |  |
| 1473 | Consignment holsters | Kartell | PE, PP |  | 716 |  |
| 1398 | Construction foil |  | PE |  | 692 |  |
| 1410 | Container cover | Repella | PE |  | 635 |  |
| 1390 | Container lid | Hemocue | LDPE |  | 334 |  |
| 1775 | Container liner sack |  | PE |  | 469 |  |
| 1512 | Cooler/warmer box, 15 l | Danisco Flamingo | EPS |  | 183 |  |
| 1513 | Cooler/warmer box, 30 l | Danisco Flamingo | EPS |  | 183 |  |
| 1514 | Cooler/warmer box, 7+ l | Danisco Flamingo | EPS |  | 183 |  |
| 1360 | Covering foil | SK emballage | PE |  | 536 | None |
| 1413 | Cream jars 10-100 ml |  | SAN |  | 306 |  |
| 1414 | Cream jars 5-15 ml |  | PP |  | 306 |  |
| 1411 | Cream jars 50-100 ml |  | PP |  | 306 |  |
| 1412 | Cream jars 50-200 ml |  | PP |  | 306 |  |
| 1626 | Cupboard bin |  | PP |  | 0 |  |
| 1429 | Deep freeze bag | Extrufix | PE |  | 1345 |  |
| 1415 | Diagnosis sample packaging | Danisco Flamingo | EPS |  | 183 |  |
| 1416 | Diagnosis sample packaging | Danisco Flamingo | EPS |  | 183 |  |
| 1417 | Dialysis jars | PLM Langeskov | PP |  | 1296 |  |
| 1486 | Domestic bags | Extrufix | PE |  | 1345 |  |
| 1670 | Drums, 60 - 220 l |  | HDPE |  | 306 |  |
| 1445 | Energy saving film | 3M Scotchtini | Polyester |  | 1 |  |
| 1436 | EPS packaging | Danisco Flaminge | EPS |  | 183 |  |
| 1654 | Feeding bottles |  | PP |  | 306 |  |
| 1446 | Film | Sćkko | PET |  | 265 | None |
| 1447 | Film and foil | Hoechst | PP |  | 229 |  |
| 1448 | Film and foil | Mobil | PP |  | 229 |  |
| 1628 | Foam foil |  | PE |  | 692 |  |
| 1471 | Foil | Strapex | PE |  | 966 | None |
| 1469 | Foil | Dansk Klćberulle Industri | OPP |  | 187 |  |
| 1470 | Foil | Dec-ophan | OPP |  | 187 |  |
| 1622 | Folding box |  | PP |  | 189 |  |
| 1482 | Food bags | Several different | PE |  | 1311 |  |
| 1474 | Freezer bags |  | PE |  | 639 |  |
| 1475 | Freezer bags | Fritz Schur Plast | PE |  | 1037 |  |
| 1476 | Freezer bags | Hemofreeze | PTFE, PE |  | 72 |  |
| 1477 | Freezer bags 15 l | Sćkko | PE |  | 680 |  |
| 1478 | Freezer bags 3 l | Salko Catering | ldpe |  | 680 |  |
| 1479 | Freezer bags 6 l | Sćkko | PE |  | 680 |  |
| 1480 | Fruit bags | Extrufix | PE |  | 1345 |  |
| 1483 | Gardening packaging | Dansk Styropack a/s | EPS |  | 717 |  |
| 1484 | Handles |  | PE |  | 0 |  |
| 1491 | Infection container | Devon Industries | HDPE |  | 1294 |  |
| 1492 | Injection vials (plastic capped vial) | PLM Langeskov | PP |  | 1296 |  |
| 1655 | Jam tub | Hammarplast | PP |  | 114 |  |
| 1419 | Jar, 5, 10 & 25 l | Lupolen | HDPE |  | 643 |  |
| 1421 | Jars | Nord-Plast | PE |  | 0 |  |
| 1423 | Jars | Rosti | HDPE |  | 648 |  |
| 1422 | Jars | P-Industri | PE |  | 751 |  |
| 1420 | Jars | Holmia | LDPE |  | 648 |  |
| 1424 | Jars (5-60 l) | Nalgene/Kartell | PE, PC, PP |  | 716 |  |
| 1425 | Jars 1-60 l |  | HDPE |  | 306 |  |
| 1426 | Jars 20 l | Hannells | PE |  | 336 |  |
| 1427 | Jars for various disinfectants | Superfos Biosector generally | PE |  | 718 |  |
| 1428 | Jars, 5 l | Rosti | PE |  | 336 |  |
| 1645 | Large sack | Dansk Sćkke Import | PP |  | 1311 |  |
| 1522 | Lid for jar | Holmia A/S | PE |  | 166 |  |
| 1523 | Lid for plastic bottle | Kunsstoffwerk | PPN |  | 166 |  |
| 1472 | Liner bags for mini container, 180, 240, 360, 400, 600, 800 l | Extrufix | PE |  | 1345 |  |
| 1527 | Medicine bottles | PLM Langeskov | PP |  | 1296 |  |
| 1526 | Medicine trays | Wiegand | PS |  | 185 |  |
| 1528 | Minigrip standard bag | JOKA | LDPE |  | 166 |  |
| 1529 | Nunc-Immuno Module | Nunc | PS |  | 166 |  |
| 1531 | Pallets | A/S Metas | PE | CE | 1300 |  |
| 1530 | Pallets |  | HDPE |  | 189 |  |
| 1583 | Plastic bag | SK emballage | PE |  | 1130 |  |
| 1586 | Plastic bag | Sćkko | HDPE, LDPE |  | 708 |  |
| 1575 | Plastic bag |  | PE |  | 200 |  |
| 1584 | Plastic bag | Sapro | PP |  | 205 | None |
| 1582 | Plastic bag | Rich Mnller | PE |  | 641 |  |
| 1581 | Plastic bag | N.H. Emballage | PE |  | 542 |  |
| 1580 | Plastic bag | Lidemark | PE |  | 205 | None |
| 1579 | Plastic bag | HDK | PE |  | 320 |  |
| 1578 | Plastic bag | 11056-15 | PE |  | 167 |  |
| 1577 | Plastic bag |  | PE |  | 727 |  |
| 1576 | Plastic bag |  | PE |  | 459 |  |
| 1585 | Plastic bag | Schur | PE |  | 751 |  |
| 1587 | Plastic bag and sack |  | HDPE, LDPE, LLDPE |  | 531 |  |
| 1561 | Plastic bags |  | PE |  | 393 |  |
| 1588 | Plastic bags |  | PE |  | 1130 |  |
| 1589 | Plastic bags | Norlip | PE |  | 1119 |  |
| 1590 | Plastic bags, various | Various | PE |  | 1311 |  |
| 1552 | Plastic bottle | Wheaton | LDPE |  | 166 |  |
| 1550 | Plastic bottle | Heinz Plastics | HDPE |  | 166 |  |
| 1551 | Plastic bottle | NALGE | HDPE/PP |  | 166 |  |
| 1549 | Plastic bottle | APODAN | HDPE |  | 166 |  |
| 1553 | Plastic bottles | INGE | HDPE |  | 1172 |  |
| 1554 | Plastic bottles | OTV | LDPE |  | 648 |  |
| 1555 | Plastic bottles 10-25 ml |  | PE |  | 306 |  |
| 1556 | Plastic bottles 100-1000 ml |  | HDPE |  | 306 |  |
| 1557 | Plastic bottles 250-300 ml |  | PE |  | 306 |  |
| 1558 | Plastic bottles 60-1000 ml |  | HDPE |  | 306 |  |
| 1559 | Plastic bottles, transparent 1 l |  | PET |  | 306 |  |
| 1537 | Plastic box | Lockweiler | PE |  | 257 |  |
| 1571 | Plastic boxes | Perstorp | PP |  | 678 |  |
| 1567 | Plastic boxes | Dyna-Plast | PS |  | 374 |  |
| 1568 | Plastic boxes | Dynoplast | PP |  | 678 |  |
| 1569 | Plastic boxes | Link | PP |  | 678 |  |
| 1570 | Plastic boxes | Perstorp | PE |  | 117 |  |
| 1572 | Plastic boxes | Perstorp | PP |  | 117 |  |
| 1573 | Plastic boxes | Werit | PE |  | 678 |  |
| 1591 | Plastic bucket | Ejers | PE |  | 239 |  |
| 1565 | Plastic caps | Rigidex | HDPE |  | 935 | None |
| 1564 | Plastic caps | Plastic-union | PE |  | 1329 |  |
| 1563 | Plastic caps | Eraco/Břjco | PE, PP |  | 349 |  |
| 1418 | Plastic dropping bottle | NALGE | LDPE |  | 166 |  |
| 1598 | Plastic drum for waste | Roug | PE |  | 1255 |  |
| 1597 | Plastic drum for waste | Mauser/Roug | PE |  | 1255 |  |
| 1560 | Plastic foil | Ritoform | PET |  | 1194 |  |
| 1542 | Plastic jar | Holmia A/S | HDPE |  | 166 |  |
| 1541 | Plastic jar | Holmia | PE |  | 349 |  |
| 1543 | Plastic jar | Rosti | HDPE |  | 628 | None |
| 1544 | Plastic jar | Rosti | HDPE |  | 652 |  |
| 1545 | Plastic jar | Rosti | PP |  | 358 |  |
| 1546 | Plastic jar | Tysk | PP |  | 358 |  |
| 1574 | Plastic lid | Plus Pack | PS |  | 1092 |  |
| 1548 | Plastic packaging | Rosti | PE, PP |  | 663 |  |
| 1562 | Plastic rolls |  | PE |  | 393 |  |
| 1594 | Plastic sack |  | PE |  | 727 |  |
| 1593 | Plastic sack |  | PE |  | 200 |  |
| 1595 | Plastic sack for shredding | ECK | Polyester |  | 390 |  |
| 1596 | Plastic tanks | A/S Metas | PE | CE | 1300 |  |
| 1538 | Plastic tape | 9088 | PP |  | 182 |  |
| 1592 | Plastic tightener | 9087 | PP |  | 182 |  |
| 1547 | Plastic tin with lid | Amager | PE |  | 114 |  |
| 1535 | Plastic tray | Plus Pack | PS |  | 1092 |  |
| 1534 | Plastic tray | Plus Pack | PS |  | 1092 |  |
| 1536 | Plastic tray | Showcase | PS |  | 1092 |  |
| 1533 | Plastic tray | BPC | PET |  | 1092 |  |
| 1539 | Plastic tubs | Ejers | PPCO |  | 239 |  |
| 1566 | Plastic vessel | A/S Metas | PE | CE | 1300 |  |
| 1599 | Portion trays, foam |  | PS |  | 639 |  |
| 1611 | Problem box | Perstorp | PE |  | 94 |  |
| 1391 | Protective packaging | Dansk Styropack a/s | EPS |  | 717 |  |
| 1612 | Pumps | HDU-SCRUB sprit | PP |  | 718 |  |
| 1620 | Raw materials and waste container | Rubbermaid | PP |  | 114 |  |
| 1627 | Refuse bags |  | PE |  | 469 |  |
| 1614 | Refuse sack | Miljřsćkken | PE |  | 521 |  |
| 1613 | Refuse sack |  | PE |  | 469 |  |
| 1615 | Roll-on bottles | Scanbech | PP |  | 213 |  |
| 1616 | Roll-on, 60 ml |  | PE |  | 306 |  |
| 1617 | Round bottle, 30 ml |  | PE |  | 306 |  |
| 1618 | Round bottle, 50 ml |  | PE |  | 306 |  |
| 1619 | Round bottles, 250-500 ml |  | PE |  | 306 |  |
| 1381 | Rubbish sacks |  | PE |  | 469 |  |
| 1383 | Rubbish sacks | Extrufix | PE |  | 1345 |  |
| 1384 | Rubbish sacks | Fritz Schur Plast | PE |  | 1037 |  |
| 1385 | Rubbish sacks | MH Line | LDPE |  | 390 |  |
| 1382 | Rubbish sacks |  | PE |  | 692 |  |
| 1660 | Sack | Ulfoss Plastic | PE |  | 1337 |  |
| 1659 | Sack | Sćkko | LDPE |  | 708 |  |
| 1658 | Sack | Extrufix | PE |  | 1345 |  |
| 1657 | Sack |  | PE |  | 692 |  |
| 1621 | Salt/grit container | Glasdon | PE | PE-foil | 653 |  |
| 1489 | Sanitary bags | Topiplast | PE |  | 540 |  |
| 1487 | Sanitary bags | MH Line | LDPE |  | 390 |  |
| 1488 | Sanitary bags | Topiplast | PE |  | 540 |  |
| 1623 | Sanitary bucket | Panco | PE |  | 114 |  |
| 1624 | Self-pack bags | Extrufix | PE |  | 1345 |  |
| 1625 | Shampoo bottles, 250-1000 ml |  | PE |  | 306 |  |
| 1509 | Shrink wrap | Dupont | PO |  | 109 |  |
| 1510 | Shrink wrap | Fritz Schur Plast | PE |  | 1037 |  |
| 1508 | Shrink wrap | Danabox | PE |  | 109 |  |
| 1511 | Shrink wrap | Schur plastic | PE |  | 771 |  |
| 1642 | Spray bottle | Kabi | PE |  | 459 |  |
| 1449 | Square bottle |  | PE |  | 306 |  |
| 1644 | Stable boxes |  | HDPE |  | 189 |  |
| 1643 | Stackable boxes |  | PE |  | 189 |  |
| 1517 | Storage boxes | G. Utz AG | PE | CE | 1300 |  |
| 1519 | Storage boxes | Dipack | PP |  | 365 | None |
| 1516 | Storage boxes | G. Utz AG | PP | CE | 1300 |  |
| 1515 | Storage cassettes |  | PP |  | 189 |  |
| 1649 | Stretch film | Uni Wrap | PE |  | 639 |  |
| 1648 | Stretch film | Crown | PE |  | 390 |  |
| 1647 | Stretch film | 9405 | PE |  | 182 |  |
| 1646 | Stretch film |  | PE |  | 692 |  |
| 1651 | Stretch foil | Uni Wrap | PE |  | 392 |  |
| 1650 | Stretch foil | Strapex | PE |  | 771 |  |
| 1652 | Stretch tape for palletising 8884 | 3M | PE |  | 1 |  |
| 1653 | Stretch tape for palletising 8886 | 3M | PE |  | 1 |  |
| 1396 | Table bags, sterile | 3M ass. table bags, sterile | PE, |  | 1 |  |
| 1661 | Tablet boxes 100-1000 ml |  | HDPE |  | 306 |  |
| 1662 | Tablet boxes 30-250 ml |  | PP |  | 306 |  |
| 1532 | Tank container, l000 l |  | Lupolene |  | 306 |  |
| 1663 | Tape | Vibac | PE |  | 392 |  |
| 1400 | Tape | Strapex | PP |  | 966 | None |
| 1507 | Tie bags | Extrufix | PE |  | 1345 |  |
| 1481 | Tie fasteners | Dyna Ties | PA |  | 0 |  |
| 1430 | Tin | Elkay/Kartell/Kautex | PE, PP, PS, TPX, PTF |  | 716 |  |
| 1431 | Tin (1250 ml) and cap | Gravenhorst Plast A/S | PE |  | 1317 |  |
| 1432 | Tin (2000 ml) and cap | Gravenhorst Plast A/S | PE |  | 1317 |  |
| 1433 | Tin, Splendi | Orth | SAN |  | 114 |  |
| 1434 | Tin, Splendi |  | PS |  | 1237 |  |
| 1435 | Tins with screw lids |  | PP |  | 306 |  |
| 1673 | Tool boxes | Raaco | PP |  | 117 |  |
| 1664 | Top foil |  | PE |  | 692 |  |
| 1665 | Topsy environmental box | Glasdon | PE | PE-foil | 653 |  |
| 1668 | Transport box |  | PP |  | 189 |  |
| 1669 | Transport box | Orth | HDPE |  | 114 |  |
| 1666 | Transport container | Life Technologies | PS |  | 0 |  |
| 1667 | Transport packaging |  | PE |  | 180 |  |
| 1406 | Tub, 10 l | Saier | HDPE |  | 643 | None |
| 1671 | Tube bottles 50-125 ml |  | PE |  | 306 |  |
| 1407 | Tubs, 40 - 100 l |  | PP |  | 306 |  |
| 1672 | UNI boxes |  | HDPE |  | 189 |  |
| 1502 | Vessel | Nalgene/Kartell | PE, PP |  | 716 |  |
| 1501 | Vessel |  | LDPE |  | 189 |  |
| 1376 | Waste bags | Fritz Schur Plast | PE |  | 1037 |  |
| 1375 | Waste bags | Extrufix | PE |  | 1345 |  |
| 1374 | Waste bags |  | PE |  | 185 |  |
| 1373 | Waste bags |  | PE |  | 639 |  |
| 1378 | Waste bags, black |  | PE |  | 114 |  |
| 1377 | Waste bags, blue | Sćkko | PE |  | 114 |  |
| 1379 | Waste bin | Pedalspand | PE |  | 459 |  |
| 1369 | Waste bin for table |  | SAN |  | 114 |  |
| 1380 | Waste bin for wall | Hammerplast | PP |  | 114 |  |
| 1371 | Waste box | Perstorp | PE |  | 94 |  |
| 1367 | Waste container | Uson Plast | PPCO-PE |  | 737 |  |
| 1361 | Waste container |  | HDPE |  | 189 |  |
| 1362 | Waste container | Metas | PE |  | 114 |  |
| 1363 | Waste container | Milko | PE |  | 1075 |  |
| 1364 | Waste container | Rieber | PE |  | 114 |  |
| 1365 | Waste container | Rubbermaid | PP |  | 114 |  |
| 1366 | Waste container | Uson | PE |  | 716 |  |
| 1370 | Waste container | Perstorp | PE |  | 94 |  |
| 1368 | Waste container for hospital waste | ('Fass 4'), Wiva/Roug | PE, PP |  | 1255 |  |
| 1372 | Wastepaper basket | Glasdon | PE | PE-foil | 653 |  |
| 1485 | Wheeled containers |  | PE |  | 1016 |  |
| 1437 | Wrapping | Acryl | Acrylic |  | 207 |  |
| 1438 | Wrapping | Isolon | PE |  | 207 |  |
| 1439 | Wrapping | Lexan | PC |  | 207 |  |
| 1440 | Wrapping | Matas | PE |  | 489 |  |
| 1443 | Wrapping for absorbing shocks |  | PS |  | 180 |  |
| 1441 | Wrapping for blood sample glass | Danisco Flamingo | EPS |  | 183 |  |
| 1442 | Wrapping for coffee filters | Cryovac | PO |  | 294 |  |
| 1444 | Wrapping tape | Cyclop | PP |  | 109 |  |
| 1521 | Zipped bags | Crown | PE |  | 390 |  |

Rôzne:

| Id | Product | Trade mark | Plastic type | Packaging | Supplier No. | CE |
| --- | --- | --- | --- | --- | --- | --- |
| 1783 | Cables, free of PVC, various sizes | NKT | typer.htm |  | 1082 |  |
| 1757 | Corner shelf |  | PP |  | 205 | None |
| 1758 | Corner shelf, small |  | PP |  | 205 | None |
| 1709 | Finger protector | Molak | PP | Carton | 1352 |  |
| 1716 | Flexible clogs | Comfeet | PU | Cardboard | 315 |  |
| 1760 | Foil for stretch film winder |  | PET |  | 205 | None |
| 1715 | Gloves, clean room glove | Nitrilite | NBR (nitrile) | Pe | 315 |  |
| 1763 | Office chairs |  | PP-Polyethylene | Cardboard | 259 |  |
| 1764 | Support chair |  | PP-Polyethylene | Cardboard | 259 |  |
| 1732 | Support mats | Ease-Solid | typer.htm |  | 1355 |  |
| 1731 | Support mats | Ease-Kitchen | Nitrile |  | 1355 |  |